## Materials
|  |  |  | IES Ref: | Q0771
|  |  |  | Title: | 2DWQ Chiller
|  |  |  | Subject: | 2DWQ Chiller - Starter / Control Panel (100531918) |  | Do Not Order |  |  |  | Check Total | #VALUE!
|  |  |  | Date: | 2025-01-17 |  | Already Ordered
|  |  |  | Time: | 14:18 |  | Order |  |  | Panel Ref: | Enter panel serial number if appropriate
COSTING SHEET - 2024
IMS 5204 - IES WORKS COSTING SCHEDULE - Rev. 1-9
Parts Description | Panel Reference | Qty | Unit | Part N° | Parts Description | Additional Details | Manufacturer | Supplier | List Price (£) | Discount (%) | Nett Unit (£) | Nett Total (£) | Markup (%) | Selling (£) | Date Order Issued to Procurement Dept. | Status
| 1 | 1 |  | P3892 | MAIN/CHILLER SECTION ENCLOSURE | STAINLESS STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 2 | 1 |  | P3892 | REMOVEABLE CHANNEL | STAINLESS STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 3 | 2 |  | P3892 | MAIN/CHILLER SECTION DOORS | STAINLESS STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 4 | 1 |  | P3892 | ENCLOSURE WEATHER CANOPY | STAINLESS STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 5 | 1 |  | P3892 | MAIN/CHILLER SECTION INTERNAL PANEL | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 6 | 3 |  | P3892 | GLAND PLATE (LARGE) | STAINLESS STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 8 | 1 |  | P3892 | ISOLATOR PLATE | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 9 | 4 |  | P3892 | ISOLATOR PLATE SPACER ϕ20x175mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 11 | 1 |  | CUT TO SUIT | COPPER EARTH BAR 20x5mm | ERICO 549010 |  |  |  | 0 | 0 | 0 |  | 0
| 12 | 3 |  | P3892 | EARTH BAR SPACERS ϕ12x15mm.LG | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 13 | 2 |  | P3892 | DOOR STAY ENCLOSURE BRACKET | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 14 | 2 |  | P3892 | DOOR STAY ARM & NUT | MCS/AL.ALLOY PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 15 | 9.7 | MTR | N.D. | ENCLOSURE IP SEALING GASKET | EMKA 1101-10 |  |  |  | 0 | 0 | 0 |  | 0
| 16 | 1 | MTR | N.D. (3.9mts) | GLANDPLATE IP SEALING GASKET (5,5mts) | RS COMPONENTS 163-4734 |  | RS Components | 29.3 | 0 | 29.3 | 29.3 |  | 29.3
| 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 18 | 8 |  | N.D. | DOOR HINGES, SS | EMKA 1110-U50 |  |  |  | 0 | 0 | 0 |  | 0
| 19 | 1 |  | N.D. | T-HANDLE LATCH + CAM PADLOCKABLE, ST.STEEL | SOUTHCO E3-160-012 + E3-28-201-24 |  |  |  | 0 | 0 | 0 |  | 0
| 20 | 5 |  | N.D. | COMPRESSION LATCH SLOT, ST.STEEL | SOUTHCO E3-19-10 |  |  |  | 0 | 0 | 0 |  | 0
| 21 | 5 |  | N.D. | PULL-TAB | SOUTHCO E3-27-1 |  |  |  | 0 | 0 | 0 |  | 0
| 22 | 6 |  | N.D. | LATCH GASKET | SOUTHCO E3-24-201-18 |  |  |  | 0 | 0 | 0 |  | 0
| 23 | 4 |  | N.D. | M16 LIFTING EYEBOLTS | RS COMPONENTS 673-658 |  | RS COMPONENTS | 7.53 | 0 | 7.53 | 30.12 |  | 30.12
| 24 | 4 |  | N.D. | M16 SEALING WASHER | NYLON |  |  |  | 0 | 0 | 0 |  | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 26 | A/R |  | N.D. | HALOGEN FREE TRUNKING H75mm x W40mm GREY | CABLECRAFT 20440034 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 27 | A/R |  | N.D. | HALOGEN FREE TRUNKING H75mm X W50mm GREY | CABLECRAFT 20440054 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 29 | 1 |  | N.D. (A.r) | 10-15mm BRAID SLEEVE (25mt) | FARNELL 322-3360 |  | FARNELL | 26.79 | 0 | 26.79 | 26.79 |  | 26.79
| 30 | 1 |  | N.D. | A4 DOCUMENT POCKET | ELDON DRA04 |  |  |  | 0 | 0 | 0 |  | 0
| 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 34 | 1 |  | ST1 | THERMOSTAT N.O/N.C | SCHNEIDER ELEC. NSYCC0THD |  |  |  | 0 | 0 | 0 |  | 0
| 35 | 1 |  | ST2 | THERMOSTAT N.O/N.C | SCHNEIDER ELEC. NSYCC0TH0F |  |  |  | 0 | 0 | 0 |  | 0
| 36 | 4 |  | U1,U2,U3,U4 | VENTILATION FAN 24Vdc. IP55 PF43.00 | PFANNENBERG 11643803055 |  |  |  | 0 | 0 | 0 |  | 0
| 37 | 4 |  | N.D. | RAINHOOD, ST.STEEL | PFANNENBER 18102000017 |  |  |  | 0 | 0 | 0 |  | 0
| 38 | 1 |  | U3 | ENCLOSURE HEATER 600W 110Vac | FARNELL ACH600 600 110V |  | FARNELL |  | 0 | 0 | 0 |  | 0
| 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 40 | 1 |  | P3892 | EDF IDENTIFICATION LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 41 | 2 |  | P3892 | 400 VOLTAGE LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 42 | 2 |  | P3892 | HIGH VOLTAGE LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 43 | 1 |  | P3892 | ISOLATOR LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 44 | 1 | SET | P3892 | LAMP/BUTTON LABELS | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 45 | 1 |  | P3892 | EARTH LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 47 | A/R |  | AC POWER | FLEXIBAR, HALOGEN FREE 3x20x1 | ERICO 537500 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 50 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 35mm² BLACK | ELAND CABLES A2ZBK035 | meter cost required |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 51 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 35mm² BROWN | ELAND CABLES A2ZBR035 | meter cost required |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 52 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 35mm² GREY | ELAND CABLES A2ZGR035 | meter cost required |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 53 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm² BLACK | ELAND CABLES A2ZBK0025 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 54 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm² BROWN | ELAND CABLES A2ZBR0025 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 55 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm² GREY | ELAND CABLES A2ZGR0025 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 56 | A/R |  | AC/DC POWER | EQUIPMENT CABLE LSZH 2.5mm² BLUE | ELAND CABLES A2ZBL0025 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 57 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 1.5mm² BLACK | ELAND CABLES A2ZBK0015 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 58 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 1.5mm² BROWN | ELAND CABLES A2ZBR0015 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 59 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 1.5mm² GREY | ELAND CABLES A2ZGR0015 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 60 | A/R |  | AC CONTROL | EQUIPMENT CABLE LSZH 1.5mm² RED | ELAND CABLES A2ZRD0015 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 61 | A/R |  | AC CONTROL | EQUIPMENT CABLE LSZH 1mm² RED | ELAND CABLES A2ZRD0010 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 62 | A/R |  | DC CONTROL | EQUIPMENT CABLE LSZH 2.5mm² BLUE | ELAND CABLES A2ZBL0025 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 63 | A/R |  | DC CONTROL | EQUIPMENT CABLE LSZH 1.5mm² BLUE | ELAND CABLES A2ZBL0015 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 64 | A/R |  | DC CONTROL | EQUIPMENT CABLE LSZH 1mm² BLUE | ELAND CABLES A2ZBL0010 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 65 | A/R |  | VOLT FREE | EQUIP. CABLE LSZH LSZH 1mm² WHITE | ELAND CABLES A2ZWH0010 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 66 | A/R |  | (EARTH) | EQUIPMENT CABLE LSZH 2.5mm² GR/YL | ELAND CABLES A2ZGY0025 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 67 | A/R |  | (EARTH) | EQUIPMENT CABLE LSZH 1.5mm² GR/YL | ELAND CABLES A2ZGY0015 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 68 | A/R |  | N.D. | EQUIP. CABLE SCREEN TWISTED PAIR | RAYCHEM 99M1121-22-0/9-9 | per 100mt |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 70 | A/R |  | EARTH BONDING | FLAT COPPER BRAID 90 AMPS | ELAND CABLES FCB90 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 71 | A/R |  | N.D. | L.S.H. HEATSHRINK SLEEVE GREENYELLOW | CABLECRAFT CY10.0ZH |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 73 | 1 |  | IS1 | SWITCH DISCONNEDCTOR 3P 250A | SCHNEIDER ELEC. GS2N3 |  |  |  | 0 | 0 | 0 |  | 0
| 74 | 3 |  | FITTED TO IS1 | DIN FUSES 250A SIZE 1 | RS COMPONENTS 703-8800 |  | RS COMPONENTS | 11.23 | 0 | 11.23 | 33.69 |  | 33.69
| 75 | 2 |  | FITTED TO IS1 | TERMINAL SHROUDS 3P | SCHNEIDER ELEC. GS1AP43 |  |  |  | 0 | 0 | 0 |  | 0
| 76 | 1 |  | FITTED TO IS1 | EXTENSION SHAFT 400mm | SCHNEIDER ELEC. GS2AE21 |  |  |  | 0 | 0 | 0 |  | 0
| 77 | 1 |  | FITTED TO IS1 | HANDLE FRONT MOUNTED | SCHNEIDER ELEC. GS2AH535 |  |  |  | 0 | 0 | 0 |  | 0
| 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 79 | 1 |  | EMI | LINE FILTER 250A | SCHAFFNER FN 3359-250-28 |  |  |  | 0 | 0 | 0 |  | 0
| 80 | 1 | PAIR | FITTED TO EM1 | LINE FILTER PROTECTIVE COVERS | SCHAFFNER 801920 |  |  |  | 0 | 0 | 0 |  | 0
| 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 82 | 2 |  | TX1, TX3 | TRANSFORMER, 1.5kVA PRI-400V SEC-230V | SOMER 2000 LTD ST1500 |  |  |  | 0 | 0 | 0 |  | 0
| 83 | 1 |  | TX2 | TRANSFORMER, 2kVA PRI-400V SEC-230V | SOMER 2000 LTD ST2000 |  |  |  | 0 | 0 | 0 |  | 0
| 84 | 1 |  | TX4 | TRANSFORMER, 2.5kVA PRI-400V SEC-120V | SOMER 2000 LTD ST2500 |  |  |  | 0 | 0 | 0 |  | 0
| 85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 86 | 1 |  | QF1 | MCCB-3 POLE NSX160H 160A | SCHNEIDER ELEC. C16H32D160 |  |  |  | 0 | 0 | 0 |  | 0
| 87 | 2 |  | FITTED TO: QF1 | TEMINALS SHIELDS SHORT | SCHNEIDER ELEC. LV429515 |  |  |  | 0 | 0 | 0 |  | 0
| 88 | 2 |  | FITTED TO: QF1 | AUXILIARY CONTACT BLOCK 1x CONTACT | SCHNEIDER ELEC. 29450 |  |  |  | 0 | 0 | 0 |  | 0
| 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 90 | 1 |  | QF2 | MCB 3-POLE 1-A, TYPE D | SCHNEIDER ELEC. A9F55310 |  |  |  | 0 | 0 | 0 |  | 0
| 91 | 1 |  | FITTED TO: QF2 | MCB AUX. CONTACT N.O | SCHNEIDER ELEC. A9A26924 |  |  |  | 0 | 0 | 0 |  | 0
| 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 93 | 1 |  | TB | TERMINAL BLOCK | SCHNEIDER ELEC. GV2G05 |  |  |  | 0 | 0 | 0 |  | 0
| 94 | 2 |  | QF3-4 | MOTOR BREAKRE 3-POLE 2.5-4.0A | SCHNEIDER ELEC. GV2ME08 |  |  |  | 0 | 0 | 0 |  | 0
| 95 | 2 |  | FITTED TO: QF3-4 | FRONT AUXILIARY BLOCK N.O. + N.C. | SCHNEIDER ELEC. GVAE11 |  |  |  | 0 | 0 | 0 |  | 0
| 96 | 1 |  | FITTED TO: TB,QF3-4 | COMB BUS BAR, 3-WAY 45MM PITCH | SCHNEIDER ELEC. GV2G345 |  |  |  | 0 | 0 | 0 |  | 0
| 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 98 | 2 |  | QF11,13 | CB 2-POLE 6A, TYPE D | SCHNEIDER ELEC. A9F55206 |  |  |  | 0 | 0 | 0 |  | 0
| 99 | 2 |  | QF12,14 | MCB 2-POLE 10A, TYPE D | SCHNEIDER ELEC. A9F55210 |  |  |  | 0 | 0 | 0 |  | 0
| 101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 102 | 1 |  | QF21 | MCB 2-POLE 1A, TYPE B | SCHNEIDER ELEC. A9F55201 |  |  |  | 0 | 0 | 0 |  | 0
| 103 | 7 |  | QF20,23,25-29 | MCB 2-POLE 2A, TYPE B | SCHNEIDE ELEC. A9F532002 |  |  |  | 0 | 0 | 0 |  | 0
| 104 | 1 |  | QF24 | MCB 2-POLE 4A, TYPE B | SCHNEIDER ELEC. A9F53204 |  |  |  | 0 | 0 | 0 |  | 0
| 105 | 1 |  | QF22 | MCB 2-POLE 6A, TYPE B | SCHNEIDER ELEC. A9F53206 |  |  |  | 0 | 0 | 0 |  | 0
| 106 | 7 |  | FITTED TO: QF23-29 | RESIDUAL CURRENT DEVICE 25A, 30Ma TRIP | SCHNEIDER ELEC. A9V51225 |  |  |  | 0 | 0 | 0 |  | 0
| 107 | 10 |  | FITTED TO: QF20-29 | MCB AUC CONTACT N.O | SCHNEIDER ELE.C A9A26924 |  |  |  | 0 | 0 | 0 |  | 0
| 108 | 1 |  | FITTED TO:20-22 | COMB BUS BA 2- POLE + AUX | SCHNEIDER ELEC. A9XAH257 |  |  |  | 0 | 0 | 0 |  | 0
| 109 | 2 |  | QF33,34 | MCB 1-POLE 10A, TYPE B | SCHNEIDER ELEC. A9F53110 |  |  |  | 0 | 0 | 0 |  | 0
| 110 | 1 |  | QF35 | MCB 1-POLE 10A, TYPE D | SCHNEIDER ELEC. A9F55110 |  |  |  | 0 | 0 | 0 |  | 0
| 111 | 2 |  | FITTED TO: QF34-35 | MCB AUX. CONTACT N.O | SCHNEIDER ELEC. A9A26924 |  |  |  | 0 | 0 | 0 |  | 0
| 112 | 1 |  | FITTED TO: QF34-35 | COMB BUS BAR 11-POLE + AUX. | SCHNEIDER ELE.C A9XAH157 |  |  |  | 0 | 0 | 0 |  | 0
| 113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 114 | 2 |  | PSU1, PSU2 | POWER SUPPLY UNIT 24Vdc 20A | PHOENIX CONTACT 2866776 |  |  |  | 0 | 0 | 0 |  | 0
| 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 116 | 13 |  | FU1-3, 10, 11, 13,14 F20-25 | FUSE TERMINAL ASK1 | WEIDMULLER 0474560000 |  |  |  | 0 | 0 | 0 |  | 0
| 117 | 3 |  | FITTED TO: FU3,14,25 | END PLATE AP | WEIDMULLER 0380360000 |  |  |  | 0 | 0 | 0 |  | 0
| 118 | 1 |  | FITTED BETWEEN: FU13-14 | CROSS-CONNECT COMB 8mm 2-POLE | WEIDMULLER 0461100000 |  |  |  | 0 | 0 | 0 |  | 0
| 119 | 2 |  | FITTED BETWEEN: FU10-13, FU23-25 | CROSS-CONNECT COMB 8mm 3-POLE | WEIDMULLER 041200000 |  |  |  | 0 | 0 | 0 |  | 0
| 120 | 1 |  | FITTED BETWEEN: FU20-23 | CROSS-CONNECT COMB 8mm 4-POLE | WEIDMULLER 0461300000 |  |  |  | 0 | 0 | 0 |  | 0
| 121 | 1 |  | FITTED IN: FU13 | FUSE CARTRIDGE 0.5A, 20x5mm | BUSSMANN S506-0.5A-R |  |  |  | 0 | 0 | 0 |  | 0
| 122 | 4 |  | FITTED IN FU1-3,25 | FUSE CARTRIDGE 1A, 20x5mm | BUSSMANN S506-1A-R |  |  |  | 0 | 0 | 0 |  | 0
| 123 | 5 |  | FITTED IN: FU11,21-24 | FUSE CARTRIDGE 2A, 20x5mm | BUSSMANN S506-2A-R |  |  |  | 0 | 0 | 0 |  | 0
| 124 | 2 |  | FITTED IN: FU10,14 | FUSE CARTRIDGE 5A, 20x5mm | BUSSMANN S506-2A-R |  |  |  | 0 | 0 | 0 |  | 0
| 125 | 1 |  | FITTED IN: FU20 | FUSE CARTRIDGE 12.5A, 20x5mm | BUSSMANN S506-12.5A-R |  |  |  | 0 | 0 | 0 |  | 0
| 126 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 127 | 10 |  | LK10,11,13,14,20-25 | DISCONNECTED TERMINAL SAKAR/35 | WEIDMULLER 0172160000 |  |  |  | 0 | 0 | 0 |  | 0
| 128 | 2 |  | FITTED TO: LK14,25 | END PLATE AP | WEIDMULLER 0211360000 |  |  |  | 0 | 0 | 0 |  | 0
| 129 | 1 |  | FITED BETWEEN: LK13-14 | CROSS-CONNECT COMB 6.5mm 2-POLE | WEIDMULLER 0482700000 |  |  |  | 0 | 0 | 0 |  | 0
| 130 | 2 |  | FITTED BEWEEN: LK10-13,23-25 | CROSS-CONNECT COMB 6.5mm 3-POLE | WEIDMULLER 04828000000 |  |  |  | 0 | 0 | 0 |  | 0
| 131 | 1 |  | FITTED BETWEEN: LK20-23 | CROSS-CONNECT COMB 6.5m 4-POLE | WEIDMULLER 0482900000 |  |  |  | 0 | 0 | 0 |  | 0
| 132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 133 | 1 |  | E1 | PHASE/VOLTAGE MONITOR RELAY 160-690V RANGE | SEIMENS 3UG4617-1CR20 |  |  |  | 0 | 0 | 0 |  | 0
| 134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 136 | 1 |  | E2 | CURRENT TRANSDUCER 0-100/150/200A (4-20mA) | DWYER CCT50-200 |  |  |  | 0 | 0 | 0 |  | 0
| 137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 138 | 2 |  | SKA1,SKA2 | SAFETY CONTACTOR 24Vac COIL, 30A RATING | ALLEN BRADLEY 100S-C30KJ23C |  |  |  | 0 | 0 | 0 |  | 0
| 139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 140 | 1 |  | KM1 | CONTACTOR 3P 150A 24Vdc COIL | SCHNEIDER ELEC. LC1F150BD |  |  |  | 0 | 0 | 0 |  | 0
| 141 | 1 |  | FITTED TO: KM1 | AUX CONTACT BLOCK 2xN.O. & 2xN.C. | SCHNEIDER ELEC. LAD N22 |  |  |  | 0 | 0 | 0 |  | 0
| 142 | 1 |  | FITTED TO: KM1 | AUX CONTACT BLOCK 1xN.O. | SCHNEIDER ELEC. LAD N10 |  |  |  | 0 | 0 | 0 |  | 0
| 143 | 1 |  | FITTED TO: KM1 | VARISTOR 24-48Vdc COIL | SCHNEIDER ELEC. LA4 FVE |  |  |  | 0 | 0 | 0 |  | 0
| 144 | 1 | SET | FITTED TO: KM1 | 1 POLE TERMINAL SHROUDS | SCHNEIDER ELEC. LA9 F702 |  |  |  | 0 | 0 | 0 |  | 0
| 145 | 1 |  | F1 | OVERLOAD RELAY RANGE 48-80A | SCHNEIDER ELEC. LR9-F5363 |  |  |  | 0 | 0 | 0 |  | 0
| 146 | 1 |  | FITTED TO: F1 | OVERLOAD MOUNTING PLATE | SCHNEIDER ELEC. LA7 F901 |  |  |  | 0 | 0 | 0 |  | 0
| 147 | 1 |  | FITTED TO: KM1-F1 | 3 POLE TERMINAL SHROUD | SCHNEIDER ELEC. LA7 F701 |  |  |  | 0 | 0 | 0 |  | 0
| 148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 149 | 1 |  | KM4 | CONTACTOR 3P 12A 24Vdc COIL | SCHNEIDER ELEC. LC1D12BD |  |  |  | 0 | 0 | 0 |  | 0
| 150 | 1 |  | FITTED TO: KM4 | AUX CONTACT BLOCK 2xN.O. & 2xN.C. | SCHNEIDER ELEC. LAD N22 |  |  |  | 0 | 0 | 0 |  | 0
| 151 | 1 |  | F2 | OVERLOAD RELAY RANGE 7-10A | SCHNEIDER ELEC. LRD 14 |  |  |  | 0 | 0 | 0 |  | 0
| 152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 153 | 2 |  | KM6,KM7 | CONTACTOR 3P 6A 24Vdc COIL | SCHNEIDER ELEC. LP1K610BD |  |  |  | 0 | 0 | 0 |  | 0
| 154 | 2 |  | FITTED TO KM6,KM7 | VARISTOR 12-24Vac/dc | SCHNEIDER ELEC. LA4KE1B |  |  |  | 0 | 0 | 0 |  | 0
| 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 156 | 3 |  | RT1-3 | THERMISTOR RELAY 24-240V, 2xC.O. | SCHNEIDER ELEC. LT3-SA00MW |  |  |  | 0 | 0 | 0 |  | 0
| 157 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 158 | 1 |  | KT4 | TIMER RELAY, DELAY-OFF 24-240V, 2xC.O. | SCHNEIDER ELEC. RE22R2CMR |  |  |  | 0 | 0 | 0 |  | 0
| 159 | 1 |  | KT3 | TIMER RELAY, DELAY-OFF 24-240V, 2xC.O. | SCHNEIDER ELEC. RE22R2AMU |  |  |  | 0 | 0 | 0 |  | 0
| 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 161 | 1 |  | E6 | UNIVERSAL TRANSMITTER 24Vdc SUPPLY | PR ELECTRONICS PR4116 |  |  |  | 0 | 0 | 0 |  | 0
| 162 | 1 |  | FITTED TO: E6 | DISPLAY/PROG. FRONT | PR ELECTRONICS 4501 |  |  |  | 0 | 0 | 0 |  | 0
| 163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 164 | 3 |  | E7,E9,E10 | GALVANIC ISOLATOR 24Vdc SUPPLY | PEPPER & FUCHS KFDO-RO-2 |  |  |  | 0 | 0 | 0 |  | 0
| 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 166 | 5 |  | K20-24 | RELAY SPDT 24Vdc COIL | OMRON G2RV-SR500 DC24 |  |  |  | 0 | 0 | 0 |  | 0
| 167 | 10 |  | K1-5,11-14,25 | PLUG IN RELAY DPDT 24Vdc COIL | OMRON G2R-2-SNDI-DC24 |  |  |  | 0 | 0 | 0 |  | 0
| 168 | 10 |  | K1-5,11-14,25 | RELAY BASE (PUSH-IN) | OMRON P2RF-08-PU |  |  |  | 0 | 0 | 0 |  | 0
| 169 | 20 |  | KA1-6,10-15,18-21,23-25 | PLUG IN RELAY DPDT 24Vdc COIL | OMRON MY4IN1-D2-24DC(S) |  |  |  | 0 | 0 | 0 |  | 0
| 170 | 20 |  | KA1-6,10-15,18-21,23-25 | RELAY BASE (PUSH-IN) | OMRON PYF-14-PU |  |  |  | 0 | 0 | 0 |  | 0
| 171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 172 | 1 |  | SA | SELECCTOR SWITCH 2 POSITION | UK SOLENOID LIMTED CA11B-###-## |  |  |  | 0 | 0 | 0 |  | 0
| 173 | 1 |  | SA | ESCUTCHEON PLATE OFF-RESET/ON | UK SOLENOID LIMTED F*GB##### |  |  |  | 0 | 0 | 0 |  | 0
| 174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 175 | 2 |  | SB1,SB2 | PLUSH BUTTON HEAD FLUSH WHITE | SCHNEIDER ELEC. ZB4-BA1 |  |  |  | 0 | 0 | 0 |  | 0
| 176 | 1 |  | SB3 | PUSH BUTTON HEAD FLUSH GREEN | SCHNEIDER ELEC. ZB4- BA3 |  |  |  | 0 | 0 | 0 |  | 0
| 177 | 1 |  | SB4 | PLUSH BUTTON HEAD FLUSH RED | SCHNEIDER ELEC. ZB4 BA4 |  |  |  | 0 | 0 | 0 |  | 0
| 178 | 3 |  | FITTED TO SB1,2,3 | COMPLETE BODY N.O. | SCHNEIDER ELEC. ZB4 -BZ101 |  |  |  | 0 | 0 | 0 |  | 0
| 179 | 1 |  | FITTED TO SB4 | COMPLETE BODY N.C. | SCHNEIDER ELEC. ZB4-BZ102 |  |  |  | 0 | 0 | 0 |  | 0
| 180 | 4 |  | FITTED TO SB1 | CONTACT BLOCK N.O. | SCHNEIDER ELEC. ZBE-101 |  |  |  | 0 | 0 | 0 |  | 0
| 181 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 182 | 1 |  | KS1 | KEY SWITCH HEAD 2-POS. STAY PUT | SCHNEIDER ELEC. ZB4-BG2 |  |  |  | 0 | 0 | 0 |  | 0
| 183 | 1 |  | FITTED TO KS1 | COMPLETE BODY N.O. | SCHNEIDER ELEC. ZB4-BZ101 |  |  |  | 0 | 0 | 0 |  | 0
| 184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 185 | 1 |  | ES | EMERG. STOP HEAD ϕ40 PUSHBUTTON RED | SCHNEIDER ELEC. ZB4-BS844 |  |  |  | 0 | 0 | 0 |  | 0
| 186 | 1 |  | FITTED TO ES | COMPLETE BODY 2xN.C. | SCHEIDER ELEC. ZB4-BZ104 |  |  |  | 0 | 0 | 0 |  | 0
| 187 | 1 |  | FITTED TO ES | ϕ60 CIRCLUAR LABLE (EMERGENCY STOP) | SCHNEIDER ELEC. ZBY9320 |  |  |  | 0 | 0 | 0 |  | 0
| 188 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 189 | 5 |  | HL3,4,6,7,10 | LAMP HEAD WHITE | SCHNEIDER ELEC. ZB4-BV013S |  |  |  | 0 | 0 | 0 |  | 0
| 190 | 5 |  | FITTED TO HL3,4,6,7,10 | LED LAMP BODY 24Vac/dc WHITE | SCHNEIDER ELEC. ZB4-BVB1 |  |  |  | 0 | 0 | 0 |  | 0
| 191 | 1 |  | HL1 | LAMP HEAD RED | SCHNEIDER ELEC. ZB4-BV043S |  |  |  | 0 | 0 | 0 |  | 0
| 192 | 1 |  | FITTED TO HL1 | LED LAMP BODY 24Vac/dc RED | SCHNEIDER ELEC. ZB4-BVB4 |  |  |  | 0 | 0 | 0 |  | 0
| 193 | 9 |  | HL5,8,9,15-18,23,24 | LAMP HEAD YELLOW/AMBER | SCHNEIDER ELEC. ZB4-BV053S |  |  |  | 0 | 0 | 0 |  | 0
| 194 | 9 |  | FITTED TO HL5,8,9,15-18,23,24 | LED LAMP BODY 24Vac/dc YELLOW/AMBER | SCHNEIDER ELEC. ZB4-BVB5 |  |  |  | 0 | 0 | 0 |  | 0
| 195 | 15 |  | D1-9,14-17,22,23 | LAMP TEST DIODE 24Vac/dc | SCHNEIDER ELEC. ZBZ G156 |  |  |  | 0 | 0 | 0 |  | 0
| 196 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 197 | 1 |  | HL2 | LAMP HEAD BLUE | SCHNEIDER ELEC. ZB4-BV063S |  |  |  | 0 | 0 | 0 |  | 0
| 198 | 1 |  | FITTED TO HL2 | LED LAMP BODY 24Vac/dc BLUE | SCHNEIDER ELEC. ZB4-BVB6 |  |  |  | 0 | 0 | 0 |  | 0
| 199 | 2 |  | ETM1,EMT2 | ELAPSED TIME METER 12-48Vdc/20-60Vac | CURTIS 701-T-R-001-0-1248D2060A |  |  |  | 0 | 0 | 0 |  | 0
| 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 201 | 3 |  | U3,V3,W3 | FEED THRO' TERMINAL SAK6/35 | WEIDMULLER 0380560000 |  |  |  | 0 | 0 | 0 |  | 0
| 202 | 3 |  | FITTED TO: U3,V3,W3 | PARTITION, TW | WEIDMULLER 0130160000 |  |  |  | 0 | 0 | 0 |  | 0
| 203 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 204 | 6 |  | U/V/W4-5 | FEED THRO' TERMINAL SAK4/35 | WEIDMULLER 0443660000 |  |  |  | 0 | 0 | 0 |  | 0
| 205 | 6 |  | FITTED TO: U/V/W4-5 | PARTITION, TW | WEIDMULLER 0130160000 |  |  |  | 0 | 0 | 0 |  | 0
| 206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 207 | 128 |  | 1-150,H1-22 | WEIDMULLER 0380460000 |  |  |  |  | 0 | 0 | 0 |  | 0
| 208 | 1 |  | E | WEIDMULLER 0661060000 |  |  |  |  | 0 | 0 | 0 |  | 0
| 209 | 22 |  | FITTED TO:H1-22 | WEIDMULLER 0130160000 |  |  |  |  | 0 | 0 | 0 |  | 0
| 210 | 2 |  | N.D. | WEIDMULLER 0279560000 |  |  |  |  | 0 | 0 | 0 |  | 0
| 211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 212 | A/R |  | N.D. | MOUNTING RAIL (SLOTTED) TS15 | WEIDMULLER 0117510000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 213 | 47 |  | N.D. | END BRACKET (DIN) WEW35/2 | WEIDMULLER 1061200000 |  |  |  | 0 | 0 | 0 |  | 0
| 214 | A/R |  | N.D. | MOUNTING RAIL (DIN) TS25x15 | WEIDMULLER 0236400000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[9 empty] | Materials Cost Total |  |  | #VALUE!
[10 empty] | Average Value Markup |  |  | #VALUE!
[11 empty] | Materials Total |  |  | #VALUE!