## Materials
|  |  |  | IES Ref: | Q0771
|  |  |  | Title: | 9DEQ Chillers
|  |  |  | Subject: | 9DEQ Dry Air Cooler Panel (100734365) |  | Do Not Order |  |  |  | Check Total | #VALUE!
|  |  |  | Date: | 2025-01-16 |  | Already Ordered
|  |  |  | Time: | 16:47 |  | Order |  |  | Panel Ref: | Enter panel serial number if appropriate
COSTING SHEET - 2024
IMS 5204 - IES WORKS COSTING SCHEDULE - Rev. 1-9
Parts Description | Panel Reference | Qty | Unit | Part N° | Parts Description | Additional Details | Manufacturer | Supplier | List Price (£) | Discount (%) | Nett Unit (£) | Nett Total (£) | Markup (%) | Selling (£) | Date Order Issued to Procurement Dept. | Status
| 1 | 1 |  | P3895/0/EN | ENCLOSURES | STAINLESS STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 2 | 2 |  | P3895/1/DRR P3895/1/DRL | PANEL DOORS | STAINLESS STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 3 | 1 |  | P3895/3/LGP | GLAND PLATE LARGE | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 4 | 2 |  | P3895/3/SGP | GLAND PLATE SMALL | STAINLESS STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 5 | 1 |  | P3895/1/IP | INTERNAL PANEL | STAINLESS STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 6 | 1 |  | P3895/2/RC | REMOVABLE CHANNEL | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 7 | 1 |  | P3895/0/EC | ENCLOSURE WEATHER CANOPY | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 8 | 2 |  | P3895/3/LBP | LIFTING BOLT PLATE | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 9 | 1 |  | P3895/3/ISP | ISOLATOR PLAATE 250mmX200mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 10 | 4 |  | P3895/4/ISP | ISOLATOR PLATE SPACERS ϕ20X180mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 11 | 2 |  | P3895/4/RS1 | DIN RAIL SPACERS ϕ25X20mm | ϕ20mm NYLON |  |  |  | 0 | 0 | 0 |  | 0
| 12 | 2 |  | P3895/4/RS2 | DIN RAIL SPACERS ϕ25X20mm | 20mm NYLON |  |  |  | 0 | 0 | 0 |  | 0
| 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 14 | 1 |  | (CUT TO SUIT) | COPPER EARTH BAR 20X5mm (2MTR) | ERICO 549010 |  |  |  | 0 | 0 | 0 |  | 0
| 15 | 3 |  | P3895/4/EBS | EARTH BAR SPACER ϕ12x20mm.LG | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 16 | 2 |  | P3895/4/DSB | DOOR STAY ENCLOSURE BRACKET | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 18 | 5.7 | MTR | N.D. | ENCLOSURE IP SEALING GASKET | EMKA 1011-10 |  |  |  | 0 | 0 | 0 |  | 0
| 19 | 3.4 | MTR | N.D. | GLANDPLATE IP SEALING GASKET | P&P TECHNOLOGY |  |  |  | 0 | 0 | 0 |  | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 21 | 2 |  | P3895/4/DSA P3895/4/DSN | DOOR STAY ARM & NUT | MS/AL.ALLOY PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 22 | 4 |  | N.D. | DOOR HINGES, ST.STEEL | EMKA 1110-U50 |  |  |  | 0 | 0 | 0 |  | 0
| 2 | 1 |  | N.D. | T-HANDLE, KEY OP. | SOUTHCO E3-18-15 |  |  |  | 0 | 0 | 0 |  | 0
| 24 | 4 |  | N.D. | COMPRESSION LATCH | SOUTHCO E3-19-15 |  |  |  | 0 | 0 | 0 |  | 0
| 25 | 4 |  | N.D. | PULL-TAB | SOUTHCO E3-27-1 |  |  |  | 0 | 0 | 0 |  | 0
| 26 | 5 |  | N.D. | LATCH GASKET | SOUTHCOE3-24-201-18 |  |  |  | 0 | 0 | 0 |  | 0
| 27 | 4 |  | N.D. | M10 LIFTING EYEBOLTS | SAFETY LIFTING GEAR CEBSS |  |  |  | 0 | 0 | 0 |  | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 29 | A/R |  | N.D. | HALOGEN FREE TRUNKING H75mm X W37.5mm GREY | CABLECRAFT 20470034H |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 30 | A/R |  | N.D. | HALOGEN FREE TRUNKING H75mm X W25mm GREY | CABLECRAFT 20470024H |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 32 | 1 |  | ST1 | THERMOSTAT 1xN.O. 1xN.C. | RS COMPONENTS 468-2886 |  | RS COMPONENTS | 47.74 | 0 | 47.74 | 47.74 |  | 47.74
| 33 | 2 |  | ACH1, ACH2 | ENCLOSURE HEATER 230VAC FLH150 150W | PFANNENBERG 17015005007 |  |  |  | 0 | 0 | 0 |  | 0
| 34 | 1 |  | N.D. | A4 DOCUMENT POCKET | ELDON DRA04 |  |  |  | 0 | 0 | 0 |  | 0
| 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 36 | 2 |  | U1,U2 | VENTILATION FAN 24VDC, PF42.500 | PFANNENBERG 11842803055 |  |  |  | 0 | 0 | 0 |  | 0
| 37 | 2 |  | N.D. | VENT RAIN HOOD | HAMMON MANUFACTURING RH40000SS |  |  |  | 0 | 0 | 0 |  | 0
| 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 40 | 1 |  | P3895/4/DL | DUTY LABEL |  |  |  |  | 0 | 0 | 0 |  | 0
| 41 | 1 |  | P3895/3/ID | IDENTIFICATION LABEL |  |  |  |  | 0 | 0 | 0 |  | 0
| 42 | 2 |  | P3895/4/VL | 400 VOLTS LABEL |  |  |  |  | 0 | 0 | 0 |  | 0
| 43 | 2 |  | P3895/4/HVL | HIGH VOLTAGE LABEL |  |  |  |  | 0 | 0 | 0 |  | 0
| 44 | 1 |  | P3895/4/MIL | ISOLATOR LABEL |  |  |  |  | 0 | 0 | 0 |  | 0
| 45 | 1 | SET | P3895/3/LPB | LAMP LABELS |  |  |  |  | 0 | 0 | 0 |  | 0
| 46 | 1 |  | N.D. | EARTH LABEL |  |  |  |  | 0 | 0 | 0 |  | 0
| 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 50 | A/R |  | AC POWER | EQUIPMENT CABLE LSH 2.5mm² BROWN | ELAND CABLES, A2ZBR0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 51 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm² BLACK | ELAND CABLES, A2ZBK0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 52 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm² GREY | ELAND CABLES, A2ZGR0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 53 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm² BLUE | ELAND CABLES, A2ZBL0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 54 | A/R |  | AC POWER | EQUIP. CABLE LSZH LSZH 1mm² BROWN | ELAND CABLES, A2ZBR0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 55 | A/R |  | AC POWER | EQUIP. CABLE LSZH LSZH 1mm² BLACK | ELAND CABLES, A2ZBK0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 56 | A/R |  | AC POWER | EQUIP. CABLE LSZH LSZH 1mm² GREY | ELAND CABLES, A2ZGR0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 57 | A/R |  | AC CONTROL | EQUIPMENT CABLE LSZH 1.5mm² RED | ELAND CABLES, A2ZRD0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 58 | A/R |  | AC CONTROL | EQUIP. CABLE LSZH LSZH 1mm² RED | ELAND CABLES, A2ZRD0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 59 | A/R |  | DC CONTROL | EQUIP. CABLE LSZH LSZH 1mm² BLUE | ELAND CABLES, A2ZBL0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 60 | A/R |  | VOLT FREE | EQUIP. CABLE LSZH LSZH 1mm² WHITE | ELAND CABLES, A2ZWH0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 61 | A/R |  | N.D. | EQUIPD CABLE SCREEN 4-CORE | RAYCHEM 44A1121-22-0/2.6/9-9 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 63 | A/R |  | EARTH BONDING | FLAT COPPER BRAID 90AMPS | CABLE CRAFT FCB90 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 64 | A/R |  | N.D. | L.S.H. HEATSHRINK SLEEVE GREEN/YELLOW | CABLE CRAFT CY10.0ZH |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 65 | A/R |  | (EARTH) | EQUIPMENT CABLE LSZH 2.5mm² GR/YL | ELAND CABLES, A2ZGY0025 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 66 | A/R |  | (EARTH) | EQUIPMENT CABLE LSZH 1mm² GR/YL | ELAND CABLES, A2ZGY0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 68 | 1 |  | IS1 | SWITCH DISCONNECTOR 4P 100A | SCHEIDER ELEC. GS2JB4 |  |  |  | 0 | 0 | 0 |  | 0
| 69 | 3 |  | FITTED TO IS1 | BS FUSES 80A SIZE A4 | BUISSMANN SERIES TCP80 |  |  |  | 0 | 0 | 0 |  | 0
| 70 | 1 |  | FITTED TO IS1 | NEUTRAL LINK 100A SIZE A4 | RS COMP. 242-1077 |  |  |  | 0 | 0 | 0 |  | 0
| 71 | 2 |  | FITTED TO IS1 | TERMINAL SHROUDS 4P | SCHNEIDER ELEC. GS1AP34 |  |  |  | 0 | 0 | 0 |  | 0
| 72 | 1 |  | FITTED TO IS1 | EXTENSION SHAFT 400mm | SCHNEIDER ELEC. GS2AE21 |  |  |  | 0 | 0 | 0 |  | 0
| 73 | 1 |  | FITTED TO IS1 | HANDLE FRONT MOUNTED | SCHNEIDER ELEC. GS2AH540 |  |  |  | 0 | 0 | 0 |  | 0
| 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 76 | 1 |  | EMI | LINE FILTER 80A | SCHAFFNER FN 3256-H80-35 |  |  |  | 0 | 0 | 0 |  | 0
| 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 79 | 1 |  | TX1 | TRANSFORMER, 350VA PRI-400V SEC-150V | RJW ENGINEERING ST350 |  |  |  | 0 | 0 | 0 |  | 0
| 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 81 | 12 |  | QF1-12 | MCB-3 POLE 10A, TYPE D | SCHNEIDER ELEC. A9F55310 |  |  |  | 0 | 0 | 0 |  | 0
| 82 | 12 |  | FITTED TO: QF1-12 | AUXILIARY CONTACT BLOCK C.O. | SCHNEIDER ELEC. A9A26927 |  |  |  | 0 | 0 | 0 |  | 0
| 83 | 1 |  | FITTED TO QF1-12 | COMB BAR 3-POLE + AUX | SCHNEIDER ELEC. A9XAH357 |  |  |  | 0 | 0 | 0 |  | 0
| 84 | 1 | PKT | N.D. | COMB BAR 3-POLE END CAPS | SCHNEIDER ELEC. A9XPE310 |  |  |  | 0 | 0 | 0 |  | 0
| 85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 86 | 1 |  | QF20 | MCB-1 POLE 4A, TYPE D | SCHNEIDER ELEC. A9F55104 |  |  |  | 0 | 0 | 0 |  | 0
| 87 | 1 |  | QF 21 | MCB-1 POLE 2A, TYPE D | SCHNEIDER ELEC. A9F55202 |  |  |  | 0 | 0 | 0 |  | 0
| 88 | 1 |  | QF22 | MCB-1 POLE 6A, TYPE D | SCHNEIDER ELEC. A9F55106 |  |  |  | 0 | 0 | 0 |  | 0
| 89 | 1 |  | QF23 | MCB-1 POLE 10A, TYPE B | SCHNEIDER ELEC. A9F53110 |  |  |  | 0 | 0 | 0 |  | 0
| 90 | 3 |  | FITTED TO: QF20-22 | AUXILIARY CONTACT BLOCK C.O. | SCHNEIDER ELEC. A9A26927 |  |  |  | 0 | 0 | 0 |  | 0
| 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 95 | 1 |  | GMM1 | FAN MOTOR CONTROL GMM EC/16 | GUNTER GN.GMM EC/16.2_UL |  |  |  | 0 | 0 | 0 |  | 0
| 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 97 | 1 |  | KM | CONTACTOR 3P 95A 24Vdc COIL | SCHNEIDER ELEC. LC1 D95BD |  |  |  | 0 | 0 | 0 |  | 0
| 98 | 1 |  | FITTED TO: KM | AUX CONTACT BLOCK 2xN.O. & 2xN.C. | SCHNEIDER ELEC. LAD N22 |  |  |  | 0 | 0 | 0 |  | 0
| 99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 100 | 3 |  | KA20,21,22 | PLUG IN RELAY DPDT 24Vac COIL | OMRON G2R-2-SNDI-24DC |  |  |  | 0 | 0 | 0 |  | 0
| 101 | 3 |  | KA20,21,22 | RELAY BASE (PUSH-IN) | OMRON P2RF-08-PU |  |  |  | 0 | 0 | 0 |  | 0
| 102 | 1 |  | KA1 | PLUG IN RELAY 4PDT 24Vdc COIL | OMRON MY4IN1-D2-24DCS |  |  |  | 0 | 0 | 0 |  | 0
| 103 | 1 |  | FITTED TO KA1 | RELAY BASE (PUSH-IN) | OMRON PYF-14-PU |  |  |  | 0 | 0 | 0 |  | 0
| 104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 105 | 1 |  | PSU | POWER SUPPY UNIT 24Vdc 5A | PHOENIX 2866750 |  |  |  | 0 | 0 | 0 |  | 0
| 106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 107 | 4 |  | HL2-HL5 | LAMP HEAD WHITE | SCHNEIDER ELEC. ZB4-BV013 |  |  |  | 0 | 0 | 0 |  | 0
| 108 | 4 |  | FITTED TO HL2-HL5 | LED LAMP BODY 24Vac/dc WHITE | SCHNEIDER ELEC. ZB4-BVB1 |  |  |  | 0 | 0 | 0 |  | 0
| 109 | 1 |  | HL1 | LAMP HEAD RED | SCHNEIDER ELEC. ZB4-BV043 |  |  |  | 0 | 0 | 0 |  | 0
| 110 | 1 |  | FITTED TO HL1 | LED LAMP BODY 24Vac/dc RED | SCHNEIDER ELEC. ZB4-BVB4 |  |  |  | 0 | 0 | 0 |  | 0
| 110 | 4 |  | D1-4 | LAMP TEST DIODE 24Vac/dc | SCHNEIDER ELEC. ZBZ G156 |  |  |  | 0 | 0 | 0 |  | 0
| 112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 114 | 1 |  | SA1 | SELECTOR SWITCH 2 POSITION, 90°, 2-POLE | KRAUS & NAIMER UK CA10B-A585-700EF |  |  |  | 0 | 0 | 0 |  | 0
| 115 | 1 |  | SA1 | ESCUTCHEON PLATE (OFF/RESET-ON) | KRAUS & NAIMER UK F*GB8892-97 |  |  |  | 0 | 0 | 0 |  | 0
| 116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 117 | 2 |  | SB1, SB2 | PUSH BUTTON HEAD FLUSH WHITE | SCHNEIDER ELEC. ZB4-BA1 |  |  |  | 0 | 0 | 0 |  | 0
| 118 | 2 |  | FITTTED TO SB1,SB2 | COMPLETE BODY 1xN.O. | SCHNEIDER ELEC. ZB4-BZ101 |  |  |  | 0 | 0 | 0 |  | 0
| 119 | 1 |  | ES | EMERG. STOP HEAD ϕ40 PSUHBUTTON RED | SCHNEIDER ELEC. ZB4-BS844 |  |  |  | 0 | 0 | 0 |  | 0
| 120 | 1 |  | FITTED TO ES | COMPLETE BODY 2xN.C. | SCHNEIDER ELEC. ZB4-BZ104 |  |  |  | 0 | 0 | 0 |  | 0
| 121 | 1 |  | FITTED TO ES | ϕ60 CIRCULAR LABLE (EMERGENCY STOP) | SCHNEIDER ELEC. ZBY9320 |  |  |  | 0 | 0 | 0 |  | 0
| 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 123 | 1 |  | FU1 | FUSE TERMINAL ASK1 | WEIDMULLER 0474560000 |  |  |  | 0 | 0 | 0 |  | 0
| 124 | 1 |  | N.D. | END PLATE AP | WEIDMULLER 0380360000 |  |  |  | 0 | 0 | 0 |  | 0
| 125 | 1 |  | FITTED IN: FU1 | FUSE CARTRIDGE 5A, 20X5mm | BUSSMANN S506-5A-R |  |  |  | 0 | 0 | 0 |  | 0
| 126 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 127 | 1 |  | LK1 | DISCONNECT TERMINAL SKAR/35 | WEIDMULLER 0172160000 |  |  |  | 0 | 0 | 0 |  | 0
| 128 | 1 |  | FITTED TO: LK1 | END PLATE AP | WEIDMULLER 0211360000 |  |  |  | 0 | 0 | 0 |  | 0
| 129 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 130 | 80 |  | N.D. | DEEF THRO' TERMINAL SAK2.5/35 | WEIDMULLER 0380460000 |  |  |  | 0 | 0 | 0 |  | 0
| 131 | 14 |  | N.D. | END PLATE AP(SAK2.5) | WEIDMULLER 0279560000 |  |  |  | 0 | 0 | 0 |  | 0
| 132 | 2 |  | N.D. | CROSS CONNECTION UNIT Q3 SAK2.5 | WEIDMULLER 0337100000 |  |  |  | 0 | 0 | 0 |  | 0
| 133 | 52 |  | N.D. | DEEF THRO' TERMINAL SAK4/35 | WEIDMULLER 0443660000 |  |  |  | 0 | 0 | 0 |  | 0
| 134 | 14 |  | N.D. | END PLATE AP(SAK4) | WEIDMULLER 0117960000 |  |  |  | 0 | 0 | 0 |  | 0
| 135 | 12 |  | N.D. | EARTH TERMINAL EK4/35 | WEIDMULLER 0661060000 |  |  |  | 0 | 0 | 0 |  | 0
| 136 | A/R |  | N.D. | MOUNTING RAIL (DIN) TS35x15 | WEIDMULLER 0236400000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 137 | 30 |  | N.D. | END BRACKET (DIN) WEW35/2 | WEIDMULLER 1061200000 |  |  |  | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | #VALUE! |  | #VALUE!
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[9 empty] | Materials Cost Total |  |  | #VALUE!
[10 empty] | Average Value Markup |  |  | #VALUE!
[11 empty] | Materials Total |  |  | #VALUE!