## Materials
|  |  |  | IES Ref: | Q0771
|  |  |  | Title: | 9DEQ Chillers
|  |  |  | Subject: | 9DEQ Glycol Pump Unit Starter / Control Panel (100531776) |  | Do Not Order |  |  |  | Check Total | #VALUE!
|  |  |  | Date: | 2025-01-16 |  | Already Ordered
|  |  |  | Time: | 12:41 |  | Order |  |  | Panel Ref: | Enter panel serial number if appropriate
COSTING SHEET - 2024
IMS 5204 - IES WORKS COSTING SCHEDULE - Rev. 1-9
Parts Description | Panel Reference | Qty | Unit | Part N° | Parts Description | Additional Details | Manufacturer | Supplier | List Price (£) | Discount (%) | Nett Unit (£) | Nett Total (£) | Markup (%) | Selling (£) | Date Order Issued to Procurement Dept. | Status
| ` | 1 |  | P3842/0/EN | ENCLOSEURE | MILD STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 2 | 1 |  | P3842/0/DR | ENCLOSER DOOR | MILD STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 3 | 1 |  | P3842/0/IP | INTERNAL PANEL | MILD STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 4 | 2 |  | P3842/3/GP | GLAND PLATE | 2.5mm MILD STEEL PAINTED RAL50005 |  |  |  | 0 | 0 | 0 |  | 0
| 5 | 1 |  | P3842/1/CP | CABINET PLINTH | MILD STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 6 | 2 |  | P3842/2/RS | REAR STRAP | MILD STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 8 | 1 |  | P3842/2/ISP | ISOLATOR PLATE 320mmX520mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 9 | 4 |  | P38442/4/IPS | ISOLATOR PLATE SPACERS ϕ25X190mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 10 | 2 |  | P3842/3/UPSB | UPS SUPPORT BRACKET | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 11 | 1 |  | CUT TO SUIT | COPPER EARTH BAR 20x5mm(2MTR) | ERICO 549010 |  |  |  | 0 | 0 | 0 |  | 0
| 12 | 4 |  | L1,L2,L3,N | FLEXIBAR DISTRIBUTION BLOCK | ERICO UDF-250A |  |  |  | 0 | 0 | 0 |  | 0
| 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 14 | 1 |  | P3842/4/DSB | DOOR STAY ENCLOSURE BRACKET | MILD STEEL PAINTED RAL5005 |  |  |  | 0 | 0 | 0 |  | 0
| 15 | 1 |  | P3842/4/DSA P3842/4/DSN | DOOR STAY ARM & NUT | MS/AL.ALLOY PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 17 | 4.7 | MTR | ENCLOSURE EMC/IP GASKET | ENCLOSURE EMC/IP GASKET | SOLIANI A 3208-E-SC |  |  |  | 0 | 0 | 0 |  | 0
| 18 | 2 | MTR | GLANDPLATE EMC/IP GASKET | GLANDPLATE EMC/IP GASKET | P&P TECHNOL |  |  |  | 0 | 0 | 0 |  | 0
| 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 20 | 4 |  | N.D. | DOOR HINGES | EMKA 1110-U2 |  |  |  | 0 | 0 | 0 |  | 0
| 21 | 1 |  | N.D. | T-HANDLE, KEY, OP. | SOUTHCO E3-18-15 |  |  |  | 0 | 0 | 0 |  | 0
| 22 | 2 |  | N.D. | COMPRESSION LATCH | SOUTHCO E3-19-15 |  |  |  | 0 | 0 | 0 |  | 0
| 23 | 2 |  | N.D. | PULL- TAB | SOUTH CO E3-27-1 |  |  |  | 0 | 0 | 0 |  | 0
| 24 | 3 |  | N.D. | LATCH GASKET | SOUTHCO E3-24-2001-18 |  |  |  | 0 | 0 | 0 |  | 0
| 25 | 4 |  | N.D. | M12 LIFTING EYEBOLTS |  |  |  |  | 0 | 0 | 0 |  | 0
| 26 | 2 |  | N.D. | LIFTING EYEBOLTS BKT. | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 27 | A/R |  | N.D. | HALOGEN FREE TRUNKING H75mm X W75m GREY | CABLECRAFT 10470074 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 28 | A/R |  | N.D. | HALOGEN FREE TRUNKING H75mm X W40mm GREY | CABLECRAFT 10470034 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 30 | 1 |  | ST1 | THERMOSTAT N.O. | RS COMPONENTS 121-7323 |  | RS COMPONENTS | 28.69 | 0 | 28.69 | 28.69 |  | 28.69
| 31 | 1 |  | N.D. | A4 DOCUMENT POCKET | ELDON DRA04 |  |  |  | 0 | 0 | 0 |  | 0
| 32 | 2 |  | U1,U2 | EMC VENTILATION FAN 24Vdc, PF42.500 | PFANNENBERG 11842803055 |  |  |  | 0 | 0 | 0 |  | 0
| 33 | 1 |  | N.D. (A/R) | 10-15MM BRAID SLEEVE (25m) | FARNELL 322-3360 |  | FARNELL | 26.79 | 0 | 26.79 | 26.79 |  | 26.79
| 34 | 1 |  | P3842/4/DL | DUTY LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 35 | 1 |  | P3842/3/ID | IDENTIFICATION LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 36 | 1 |  | P3842/4/VL | VOLTAGE LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 37 | 1 |  | P3842/4/HVL | HIGH VOLTAGE LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 38 | 1 |  | P3842/4/MIL | ISOLATOR LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 39 | 1 | SET | P3842/3/LPB | LAMP LABELS | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 40 | 1 |  | N.D. | EARTH LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 42 | A/R |  | AC POWER | FLEXI BAR 4x15.5x0.8 | ERICO 534007 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 43 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 16mm SQ BLACK | ELAND CABLES, A2ZBK016 | meter cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 44 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 6mm SQ BLACK | ELAND CABLES, A2ZBK006 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 45 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 6mm SQ BROWN | ELAND CABLES, A2ZBR006 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 46 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 6mm SQ GREY | ELAND CABLES, A2ZGR006 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 47 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm SQ BLACK | ELAND CABLES, A2ZBK0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 48 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm SQ BROWN | ELAND CABLES, A2ZBR0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 49 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm SQ BLUE | ELAND CABLES, A2ZBL00025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 50 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 1.5mm SQ BROWN | ELAND CABLES, A2ZBR00015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 51 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 1.5mm SQ BLUE | ELAND CABLES, A2ZBL0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 52 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 1mm SQ BLACK | ELAND CABLES, A2ZBK0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 53 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 1mm SQ GREY | ELAND CABLES, A2ZGR010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 54 | A/R |  | AC CONTROL | EQUIPMENT CABLE LSZH 2.5mm SQ RED | ELAND CABLES, A2ZRD0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 55 | A/R |  | AC CONTROL | EQUIPMENT CABLE LSZH 1.5mm SQ RED | ELAND CABLES, A2ZRD0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 56 | A/R |  | AC CONTROL | EQUIP. CABLE LSZH LSZH 1mm SQ RED | ELAND CABLES, A2ZRD0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 57 | A/R |  | VOLT FREE | EQUIP. CABLE LSZH LSZH 1mm SQ WHITE | ELAND CABLES, A2ZWH0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 58 | A/R |  | EARTH BONDING | FLAT COPPER BRAID 90 AMPS | CABLECRAFT FCB90 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 59 | A/R |  | N.D. | L.S.H. HEATSHRINK SLEEVE GREEN/YELLOW | CABLECRAFT CY10.0ZH |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 61 | 1 |  | IS1 | SWITCH DISCONNECTOR 4P 250A | SCHNEIDER ELEC. GS2N4 |  |  |  | 0 | 0 | 0 |  | 0
| 62 | 3 |  | FITTED TO IS1 | DIN FUSES 160A SIZE 1 | RS COMPONENTS 703-8796 |  | RS COMPONENTS | 13.16 | 0 | 17.04 | 51.12 |  | 51.12
| 63 | 1 |  | FITTED TO IS1 | SOLID LINK - SIZE 1 SIEMENS 3NG1202 | RS COMPONENTS 395-648 |  | RS COMPONENTS | 17.04 | 0 | #REF! | #REF! |  | #REF!
| 64 | 2 |  | FITTED TO IS1 | TERMINAL SHROUDS 4P | SCHNEIDER ELEC. GS1AP 44 |  |  |  | 0 | 0 | 0 |  | 0
| 65 | 1 |  | FITTED TO IS1 | EXTENSION SHAFT 400mm | SCHNEIDER ELEC. GS2AE21 |  |  |  | 0 | 0 | 0 |  | 0
| 66 | 1 |  | FITTED TO IS1 | HANDLE FRONT MOUNTED | SCHNEIDER ELEC. GS2AH535 |  |  |  | 0 | 0 | 0 |  | 0
| 67 | 1 |  | EMI | LINE FILTER 4-POLE 250A | SCHAFFNER FN 3280-H-300-99 |  |  |  | 0 | 0 | 0 |  | 0
| 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 70 | 1 |  | TX1 | TRANSFORMER, 300VA PRI-230V SEC-120V | RJW ENGINEERING ST300 |  |  |  | 0 | 0 | 0 |  | 0
| 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 73 | 1 |  | QF1 | MCB, 4-POLE 80A, TYPE C | SCHNEIDER ELEC. A9N18479 |  |  |  | 0 | 0 | 0 |  | 0
| 74 | 1 |  | FITTED TO QF1 | MCB AUX. CONTACT C.O | SCHNEIDER ELEC. A9N26927 |  |  |  | 0 | 0 | 0 |  | 0
| 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 76 | 2 |  | QF2,QF3 | MCB, 3-POLE 50A, TYPE D | SCHNEIDER ELEC. A9F55350 |  |  |  | 0 | 0 | 0 |  | 0
| 77 | 1 |  | QF4 | MCB, 2-POLE 10A, TYPE D | SCHNEIDER ELEC. A9F55210 |  |  |  | 0 | 0 | 0 |  | 0
| 78 | 1 |  | QF5 | MCB 2-POLE 2A, TYPE D | SCHNEIDER ELEC. A9F55202 |  |  |  | 0 | 0 | 0 |  | 0
| 79 | 1 |  | QF6 | MCB 1-POLE 10A, TYPE B | SCHNEIDER ELEC. A9F53110 |  |  |  | 0 | 0 | 0 |  | 0
| 80 | 1 |  | QF7 | MCB 1-POLE 4A, TYPE D | SCHNEIDER ELEC. A9F55104 |  |  |  | 0 | 0 | 0 |  | 0
| 81 | 4 |  | FITTED TO QF2,QF3,QF4,QF7 | MCB AUX. CONTACT C.O | SCHNEIDER A9A26927 |  |  |  | 0 | 0 | 0 |  | 0
| 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 83 | 4 |  | FU1-3,9 | FUSE TERMINAL ASK1 | WEIDMULLER 0474560000 |  |  |  | 0 | 0 | 0 |  | 0
| 84 | 2 |  | N.D. | END PLATE AP | WEUDMULLER 0380360000 |  |  |  | 0 | 0 | 0 |  | 0
| 85 | 3 |  | FITTED IN: FU1-3 | FUSE CARTRIDGE 1A, 20x5mm | BUSSMANN S506-1-R |  |  |  | 0 | 0 | 0 |  | 0
| 86 | 1 |  | FITTED IN:FU9 | FUSE CARTRIDGE 5A, 20x5mm | BUSSMANN S505-5-R |  |  |  | 0 | 0 | 0 |  | 0
| 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 89 | 1 |  | LK9 | DISCONNECT TERMINAL SAKR/35 | WEIDMULLER 0172160000 |  |  |  | 0 | 0 | 0 |  | 0
| 90 | 1 |  | FITTED TO: LK9 | END PLATE AP | WEIDMULLER 0211360000 |  |  |  | 0 | 0 | 0 |  | 0
| 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 92 | 1 |  | PSU | POWER SUPPLY UNIT 24Vdc 5A | PHOENIX 2866750 |  |  |  | 0 | 0 | 0 |  | 0
| 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 94 | 2 |  | RT1,RT2 | THERMISTOR RELAY 24-230Vdc, 2xC.O. | SCHNEIDER ELEC. LT3-SA00MW |  |  |  | 0 | 0 | 0 |  | 0
| 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 96 | 2 |  | KM1, KM2 | CONTACTOR 3P 40A 24Vdc COIL | SCHNEIDER ELEC. LC1 D40ABD |  |  |  | 0 | 0 | 0 |  | 0
| 97 | 2 |  | F1,F1 | OVERLOAD RELAY RANGE 37-50A | SCHNEIDER ELEC. LRD350 |  |  |  | 0 | 0 | 0 |  | 0
| 98 | 2 |  | N.D. | AUX. BLOCK 2N.O. + 2N.C | SCHNEIDER ELEC. LAD N22 |  |  |  | 0 | 0 | 0 |  | 0
| 99 | 1 |  | KM3 | CONTACTOR 3P 95A 24Vdc COIL | SCHNEIDER ELEC. LC1 D95BD |  |  |  | 0 | 0 | 0 |  | 0
| 100 | 4 |  | KA1-4 | RELAY 24Vdc COIL | OMRO G2RV-SR500 DC24 |  |  |  | 0 | 0 | 0 |  | 0
| 101 | 4 |  | KA5-8 | PLUG IN RELAY 4PDT 24Vdc COIL | OMRON MY4IN1-D2-24DC(S) |  |  |  | 0 | 0 | 0 |  | 0
| 102 | 4 |  | KA5-8 | RELAY BASE (PUSH-IN) | OMRON PYF-14-PU |  |  |  | 0 | 0 | 0 |  | 0
| 103 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 104 | 1 |  | E1 | PHASE & VOLTAGE MONITOR RELAY 160-690V RANGE | SIEMENS 3UG4617-1CR20 |  |  |  | 0 | 0 | 0 |  | 0
| 105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 107 | 1 |  | UPS | WIDE TEMPERATURE UPS INPUT:1500VA OUTPUT:1050W | FALCON SSG1.5K2T |  |  |  | 0 | 0 | 0 |  | 0
| 108 | 1 |  | FITTED TO: UPS | IEC CONNECTOR-INPUT C13 SOCKET | RS COMPONENTS 776-9122 (DRAWING SAYS 766-9122) |  | RS COMPONENTS | 3.73 | 0 | 3.73 | 3.73 |  | 3.73
| 109 | 1 |  | FITTED TO: UPS | ICE CONNECTOR-OUTPUT C14 PLUG | RS COMPONENTS 776-9113 |  | RS COMPONENTS | 3.06 | 0 | 3.06 | 3.06 |  | 3.06
| 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 111 | 2 |  | ETM1,ETM2 | ELAPSED TIME METER 12-48Vdc/20-60Vac | CURTIS 701-T-R-001-0-1248D2060A |  |  |  | 0 | 0 | 0 |  | 0
| 112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 113 | 1 |  | HL1 | LAMP HEAD RED | SCHNEIDER ELEC. ZB4-BV043 |  |  |  | 0 | 0 | 0 |  | 0
| 114 | 1 |  | FITTTED TO HL1 | LED LAMP BODY 24Vac/dc RED | SCHNEIDER ELEC. ZB4-BVB4 |  |  |  | 0 | 0 | 0 |  | 0
| 115 | 2 |  | HL3,5 | LAMP HEAD WHITE | SCHNEIDER ELEC. ZB4-BV013 |  |  |  | 0 | 0 | 0 |  | 0
| 116 | 2 |  | FITTED TO HL3,5 | LED LAMP BODY 24ac/dc WHITE | SCHNEIDER ELEC. ZB4-BVB1 |  |  |  | 0 | 0 | 0 |  | 0
| 117 | 3 |  | HL2,4,6 | LAMP HEAD YELLOW/AMBER | SCHNEIDER ELEC. ZB4-BV053 |  |  |  | 0 | 0 | 0 |  | 0
| 118 | 3 |  | FITTED TO HL2,4,5 | LED LAMP BODY 24Vac/dc YELLOW/AMBER | SCHNEIDER ELEC. ZB4-BVB5 |  |  |  | 0 | 0 | 0 |  | 0
| 119 | 5 |  | D1-5 | LAMP TEST DIODE 24Vac/dc | SCHNEIDER ELEC. ZBZ G156 |  |  |  | 0 | 0 | 0 |  | 0
| 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 121 | 1 |  | SA1 | SELECTOR SWITCH 2 POSITION 90° 4-POLE | KRAUS & NAIMER CA10B-GB6546-700EF |  |  |  | 0 | 0 | 0 |  | 0
| 122 | 1 |  | SA1 | ESCUTCHEON PLATE (OFF/RESET -ON) | KRAUS & NAIMER F*AGB8892-97 |  |  |  | 0 | 0 | 0 |  | 0
| 123 | 1 |  | SA2 | SLECTOR SWITCH 2 POSITION, 2-POLE | KRAUS & NAIMER CA10B-A575-700EF |  |  |  | 0 | 0 | 0 |  | 0
| 124 | 1 |  | SA2 | ESCUTCHEON PLATE (PUMP No.1 - PUMP No.2) | KRAUS & NAIMER F*GB9058-97 |  |  |  | 0 | 0 | 0 |  | 0
| 125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 126 | 2 |  | SB1,SB2 | PUSH BUTTON HEAD FLUSH WHITE | SCHNEIDER ELEC. ZB4-BA1 |  |  |  | 0 | 0 | 0 |  | 0
| 127 | 2 |  | FITTED TO SB1,SB2 | COMPLETE BODY 2xN.O. | SCHNEIDER ELEC. ZB4BZ103 |  |  |  | 0 | 0 | 0 |  | 0
| 128 | 1 |  | FITTED TO SB2 | CONTACT BLOCK N.O. | SCHNEIDER ELEC. ZBE-101 |  |  |  | 0 | 0 | 0 |  | 0
| 129 | 1 |  | ES | EMERG. STOP HEAD ϕ40 PUSHBUTTON RED | SCHNEIDER ELEC. ZB4-BS844 |  |  |  | 0 | 0 | 0 |  | 0
| 130 | 1 |  | FITTED TO ES | COMPLETE BODY 2xN.C. | SCHNEIDER ELEC. ZB4-BZ104 |  |  |  | 0 | 0 | 0 |  | 0
| 131 | 1 |  | FITTED TO ES | ϕ60 CIRCULAR LABEL (EMERGENCY STOP) | SCHNEIDER ELE.C ZBY9320 |  |  |  | 0 | 0 | 0 |  | 0
| 132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 133 | 42 |  | 1--28 | FEED THRO' TERMINAL SAK2.5/35 | WEIDMULLER 0380460000 |  |  |  | 0 | 0 | 0 |  | 0
| 134 | 4 |  | N.D. | END PLATE AP (SAK2.5) | WEIDMULLER 0279560000 |  |  |  | 0 | 0 | 0 |  | 0
| 135 | 2 |  | L,N | FEED THRO' TERMINAL SAK4/35 | WEIDMULLER 0443660000 |  |  |  | 0 | 0 | 0 |  | 0
| 136 | 2 |  | N.D. | SAK4 PARTITION TW SAKA-10 | WEIDMULLER 0130160000 |  |  |  | 0 | 0 | 0 |  | 0
| 137 | 6 |  | U#,V#,W# | FEED THRO' TERMINAL SAK10/35 | WEIDMULLER 0443760000 |  |  |  | 0 | 0 | 0 |  | 0
| 138 | 6 |  | N.D. | SAK10 PARTITION TW SAK4-10 | WEIDMULLER 0130160000 |  |  |  | 0 | 0 | 0 |  | 0
| 139 | 4 |  | L1L1,1L2,1L3,1N | FEED THRO' TERMINAL SAK35/35 | WEIDMULLER 0380760000 |  |  |  | 0 | 0 | 0 |  | 0
| 140 | 4 |  | N.D. | SAK35 PARTITION TW SAK35 | WEIDMULLER 0304360000 |  |  |  | 0 | 0 | 0 |  | 0
| 141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 142 |  |  | N.D. | END BRACKET (DIN) WEW35/2 | WEIDMULLER 1061200000 |  |  |  | 0 | 0 | 0 |  | 0
| 143 |  |  | N.D. | MOUNTING RAIL (DIN) TS35x15 | WIEDMULLER 0236400000 |  |  |  | 0 | 0 | 0 |  | 0
| 144 |  |  | N.D. | MOUNTING RAIL (SLOTTED) TS15 | WEIDMULLER 0117510000 |  |  |  | 0 | 0 | 0 |  | 0
| 145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 146 |  |  | FITTED TO KM1,KM2 | AUX CONTACT BLOCK 2xN.O.& 2xN.C. | SCHNEIDER ELEC. LAD N22 |  |  |  | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[9 empty] | Materials Cost Total |  |  | #VALUE!
[10 empty] | Average Value Markup |  |  | #VALUE!
[11 empty] | Materials Total |  |  | #VALUE!