## Materials
|  |  |  | IES Ref: | Q0771
|  |  |  | Title: | 9DEQ Chillers
|  |  |  | Subject: | 9DEQ Starter / Control Panel (100531425) |  | Do Not Order |  |  |  | Check Total | #VALUE!
|  |  |  | Date: | 2025-01-15 |  | Already Ordered
|  |  |  | Time: | 16:38 |  | Order |  |  | Panel Ref: | Enter panel serial number if appropriate
COSTING SHEET - 2024
IMS 5204 - IES WORKS COSTING SCHEDULE - Rev. 1-9
Parts Description | Panel Reference | Qty | Unit | Part N° | Parts Description | Additional Details | Manufacturer | Supplier | List Price (£) | Discount (%) | Nett Unit (£) | Nett Total (£) | Markup (%) | Selling (£) | Date Order Issued to Procurement Dept. | Status
| 1 | 1 |  | P3843/0/ENP | POWER SECTION ENCLOSURE | MILD STEEL PAINTED RAL50005 |  |  |  | 0 | 0 | 0 |  | 0
| 2 | 1 |  | P3843/0/ENC | CONTROL SECTION ENCLOSURE | MILD STEEL PAINTED RAL50005 |  |  |  | 0 | 0 | 0 |  | 0
| 3 | 2 |  | P3843/03DRPL P3843/0/DRPR | POWER SECTION DOORS | MILD STEEL PAINTED RAL50005 |  |  |  | 0 | 0 | 0 |  | 0
| 4 | 1 |  | P3843/0/DRC | CONTROL SECTION DOOR | MILD STEEL PAINTED RAL50005 |  |  |  | 0 | 0 | 0 |  | 0
| 5 | 1 |  | P3843/0/IPP | POWER SECTION INTERNAL PANEL | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 6 | 1 |  | P3843/0/IPC | CONTROL SECTION INTERNAL PANEL | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 7 | 4 |  | P3843/2/GP1,2,3 | GLAND PLATE | 2.5mm MILD STEEL PAINTED RAL5000 |  |  |  | 0 | 0 | 0 |  | 0
| 8 | 5 |  | P3843/0/RS1,1,2,3 | REAR STRAP | MILD STEEL PAINTED RAL50005 |  |  |  | 0 | 0 | 0 |  | 0
| 9 | 1 |  | P3843/0/RC | REMOVEABLE CHANNEL | MILD STEEL PAINTED RAL50005 |  |  |  | 0 | 0 | 0 |  | 0
| 10 | 2 |  | P3843/0/RC | UPS SUPPORT BRACKET | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 11 | 1 |  | P2843/2/ISP | ISOLATOR PLATE 410mmX580mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 12 | 4 |  | P3843/4/IPS | ISOLATOR PLATE SPACERS ϕ25X140mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 13 | 1 |  | P3843/2/TP | TERMINAL PLATE 200mmX500mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 14 | 4 |  | P3843/4/TPS | TERMINAL PLATE SPACERS ϕ12X100mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 16 | 1 |  | P3843/3/OD | OVERLOAD DEADFRONT 230mmX310mm | 3mm MACROLON CLEAR |  |  |  | 0 | 0 | 0 |  | 0
| 17 | 4 |  | P3843/4/ODS | OVERLOAD DEADFRONT SPACER ϕ16X75mm | WHITE NYLON |  |  |  | 0 | 0 | 0 |  | 0
| 18 | 1 |  | N.D. (4) | NYLON HEX BOLT M10X20mm (PACK OF 50) | RS COMPONENTS 232-6880 |  | RS COMPONENTS | 37.87 | 0 | 37.87 | 37.87 |  | 37.87
| 19 | 1 |  | CUT TO SUIT | COPPER EARTH BAR 20X5mm | ERICO 549010 |  |  |  | 0 | 0 | 0 |  | 0
| 20 | 3 |  | P3843/4/TBS | TIE BAR SPACERS ϕ10X15mm | STAINLESS STEEL |  |  |  | 0 | 0 | 0 |  | 0
| 21 | 3 |  | P3843/4/DSB | DOOR STAY ENCLOSURE BRACKET | MILD STEEL PAINTED RAL50005 |  |  |  | 0 | 0 | 0 |  | 0
| 22 | 3 |  | P3843/4/DSA P3843/4/DSN | DOOR STAY ARM & NUT | MS/AL.ALLOY PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 25 | 15.4 | MTR | N.D. | ENCLOSURE EMC/IP GASKET | SOLIANI A 3208-E-SC |  |  |  | 0 | 0 | 0 |  | 0
| 26 | 6.1 | MTR | N.D. | GLANDPLATE EMC/IP GASKET | P&P TECHNOLOGY SP-M-0020-0227-S/A |  |  |  | 0 | 0 | 0 |  | 0
| 27 | 12 |  | N.D. | DOOR HINGES | EMKA 110-U2 |  |  |  | 0 | 0 | 0 |  | 0
| 28 | 2 |  | N.D. | T-HANDLE, KEY OP. | SOUTHCO E3-18-15 |  |  |  | 0 | 0 | 0 |  | 0
| 29 | 7 |  | N.D. | COMPRESSION LATCH | SOUTHCO E3-19-15 |  |  |  | 0 | 0 | 0 |  | 0
| 30 | 7 |  | N.D. | PULL-TAB | SOUTHCO E3-27-1 |  |  |  | 0 | 0 | 0 |  | 0
| 31 | 9 |  | N.D. | LATCH GASKET | SOUTHCO E3-29-1 |  |  |  | 0 | 0 | 0 |  | 0
| 32 | 4 |  | N.D. | M16 LIFTING EYEBOLTS |  |  |  |  | 0 | 0 | 0 |  | 0
| 33 | A/R |  | N.D. | HALOGEN FREE TRUNKING H75mmXW37.5mm GREY | CABLECRAFT 2047003H |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 34 | A/R |  | N.D. | HALOGEN FREE TRUNKING H75mm X W75mm GREY | CABLECRAFT 2047007H |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 35 | 1 |  | N.D. | A4 DOCUMENT POCKET | ELDON DRA04 |  |  |  | 0 | 0 | 0 |  | 0
| 36 | 1 |  | ST1 | THERMOSTAT N.O. | RS COMPONENTS 121-7323 |  | RS COMPONENTS | 28.69 | 0 | 28.69 | 28.69 |  | 28.69
| 37 | 4 |  | U1,U2,U3,U4 | EMC VENTILATION FAN 24Vdc, PF43.000 IP55 | PFANNENBERG 11843803055 |  |  |  | 0 | 0 | 0 |  | 0
| 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 40 | 1 |  | P3843/4/DL | DUTY LABLE | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 41 | 1 |  | P3843/3/IL | IDENTIFICATION LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 42 | 2 |  | P3843/4/VL | 400 VOLTS LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 43 | 2 |  | P3842/4/HVL | HIGH VOLTAGE LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 44 | 1 |  | P3843/4/MIL | MAIN ISOLATOR LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 45 | 1 | SET | P3843/3/LPB | LAND & BUTTON LABLES | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 46 | 1 |  | N.D. | EARTH LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 49 | A/R |  | AC POWER | FLEXI BAR 10x40x1 | ERICO 566750 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 50 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm² BROWN | ELAND CABLES, A2ZBR0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 51 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm² BLACK | ELAND CABLES, A2ZBK0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 52 | A/R |  | AC POWER | EQUIPMENT CABLE LSZH 2.5mm² GREY | ELAND CABLES, A2ZGR0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 53 | A/R |  | AC POWER | EQUIP. CABLE LSZH 1mm² BROWN | ELAND CABLES, A2ZBR0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 54 | A/R |  | AC POWER | EQUIP.CABLE LSZH 1mm² BLUE | ELAND CABLES, A2ZBL0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 55 | A/R |  | AC POWER | EQUIP.CABLE LSZH 1mm² BLACK | ELAND CABLES, A2ZBK0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 56 | A/R |  | AC POWER | EQUIP.CABLE LSZH 1mm² GREY | ELAND CABLES, A2ZGR0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 57 | A/R |  | AC CONTROL | EQUIPMENT CABLE LSZH 2.5mm² RED | ELAND CABLES, A2ZRD0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 58 | A/R |  | AC CONTROL | EQUIPMENT CABLE LSZH 1.5mm² RED | ELAND CABLES, A2ZRD0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 59 | A/R |  | AC CONTROL | EQUIP.CABLE LSZH 1mm² RED | ELAND CABLES, A2ZRD0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 60 | A/R |  | DC CONTROL | EQUIPMENT CABLE LSZH 2.5mm² BLUE | ELAND CABLES, A2ZBL0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 61 | A/R |  | DC CONTROL | EQUIP.CABLE LSZH 1.5mm² BLUE | ELAND CABLES, A2ZBL0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 62 | A/R |  | VOLT FREE | EQUIP.CABLE LSZH 1mm² WHITE | ELAND CABLES, A2ZWH0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 63 | A/R |  | N.D. | EQUIP. CABLE SCREEN TWISTED PAIR | RAYCHEM 44A1121-22-0/9-9 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 64 | A/R |  | EARTH BONDING | FLAT COPPER BRAID 90AMPS | CABLECRAFT FCB90 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 65 | A/R |  | N.D. | L.S.H. HEATSHRINK SLEEVE GREEN/YELLOW | CABLECRAFT CY10.0ZH |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 66 | 1 |  | N.D. (A/R) | 10-15mm BRAID SLEEVE (25M) | FARNELL 332-3360 |  | FARNELL | 26.79 | 0 | 26.79 | 26.79 |  | 26.79
| 67 | A/R |  | (EARTH) | EQUIPMENT CABLE LSZH 2.5mm² GR/YL | ELAND CABLES, A2ZGY0025 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 68 | A/R |  | (EARTH) | EQUIPMENT CABLE LSZH 1mm² GR/YL | ELAND CABLES, A2ZGY0010 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 70 | 1 |  | IS1 | SWITCH DISCONNECTOR 3P 630A | SCHNEIDER ELEC. GS2S3 |  |  |  | 0 | 0 | 0 |  | 0
| 71 | 3 |  | FITTED TO IS1 | DIN FUSES 630A SIZE 3 | RS COMPONENTS 703-8768 |  | RS COMPONENTS | 25.43 | 0 | 25.43 | 76.29 |  | 76.29
| 72 | 6 |  | FITTED TO IS1 | TERMINAL SHROUDS 1P | SCHNEIDER ELEC. GS2AP73 |  |  |  | 0 | 0 | 0 |  | 0
| 73 | 1 |  | FITTED TO IS1 | EXTENSION SHAFT 400mm 12x12mm | SCHNEIDER ELEC. GS2AE51 |  |  |  | 0 | 0 | 0 |  | 0
| 74 | 1 |  | FITTED TO IS1 | HANDLE FRONT MOUNTED | SCHNEIDER ELEC. GS2AH550 |  |  |  | 0 | 0 | 0 |  | 0
| 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 76 | 1 |  | EMI | LINE FILTER 800A | SCHAFFNER FN 3359-800-99 |  |  |  | 0 | 0 | 0 |  | 0
| 77 | 1 | PAIR | FITTED TO EM1 | LINE FILTRE PROTECTIVE COVERS | SCHAFFNER 806267 |  |  |  | 0 | 0 | 0 |  | 0
| 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 79 | 1 |  | TX1 | TRANSFORMER, 3kVA PRI-400V SEC-230V | RJW ENGINEERING ST3000 |  |  |  | 0 | 0 | 0 |  | 0
| 80 | 1 |  | TX2 | TRANSFORMER, 1.5kVA PRI-400V SEC-120V | RJW ENGINEERING ST1500 |  |  |  | 0 | 0 | 0 |  | 0
| 81 | 1 |  | TX3 | TRANSFORMER, 50VA PRI-230V SEC-24V | RJW ENGINEERING ST50 |  |  |  | 0 | 0 | 0 |  | 0
| 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 84 | 1 |  | UPS | WIDE TEMPERATURE UPS INPUT: 1500VA OUTPUT:1050W | FALCON SSG1.5K-2T |  |  |  | 0 | 0 | 0 |  | 0
| 85 | 1 |  | FITTED TO: UPS | IEC CONNECTOR-INPUT C13 SOCKET | RS COMPONENTS 776-9122 |  | RS COMPONENTS | 3.73 | 0 | 3.73 | 3.73 |  | 3.73
| 86 | 1 |  | FITTED TO: UPS | IEC CONNECTOR-OUTPUT C14 PLUG | RS COMPONENTS 776-9113 |  | RS COMPONENTS | 3.06 | 0 | 3.06 | 3.06 |  | 3.06
| 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 88 | 1 |  | QF1 | COMPACT CIRCUIT BREAKER NS800L 3 POLE 800A | SCHNEIDER ELEC. 33468 |  |  |  | 0 | 0 | 0 |  | 0
| 89 | 2 |  | FITTED TO: QF1 | AUXILIARY CONTACT BLOCK C.O. | SCHNEIDER ELEC. 29452 |  |  |  | 0 | 0 | 0 |  | 0
| 90 | 2 |  | FITTED TO: QF1 | LONG TERMINAL SHIELD 3-POLE | SCHNEIDER ELEC. 33628 |  |  |  | 0 | 0 | 0 |  | 0
| 91 | 1 |  | QF3 | MCB 2-POLE 6A, TYPE D | SCHNEIDER ELEC. A9F55206 |  |  |  | 0 | 0 | 0 |  | 0
| 92 | 1 |  | QF2 | MCB 2-POLE 16A, TYPE D | SCHNEIDER ELEC. A9F55216 |  |  |  | 0 | 0 | 0 |  | 0
| 93 | 3 |  | QF12,20,21 | MCB 1-POLE 2A, TYPE D | SCHNEIDER ELEC. A9F55102 |  |  |  | 0 | 0 | 0 |  | 0
| 94 | 3 |  | QF10,11,13 | MCB 1-POLE 10A, TYPE B | SCHNEIDER ELEC. A9F53110 |  |  |  | 0 | 0 | 0 |  | 0
| 95 | 1 |  | QF22 | MCB 1-POLE 10A, TYPE D | SCHNEIDER ELEC. A9F55110 |  |  |  | 0 | 0 | 0 |  | 0
| 96 | 1 |  | QF23 | MCB 1-POLE 1A, TYPE D | SCHNEIDER ELEC. A9F55101 |  |  |  | 0 | 0 | 0 |  | 0
| 97 | 1 |  | FITTED TO QF10-11,13,20,21,22 | COMB BAR, 1-POLE+AUX | SCHNEIDER ELEC. A9XAH157 |  |  |  | 0 | 0 | 0 |  | 0
| 98 | 1 | PKT | N.D. | COMB BAR 1-POLE END CAPS | SCHNEIDER ELEC. A9XPE110 |  |  |  | 0 | 0 | 0 |  | 0
| 99 | 8 |  | FITTED TO: QF2,11,12,13,20-23 | AUXILIARY CONTACT BLOCK C.O. | SCHNEIDER ELEC. A9A26927 |  |  |  | 0 | 0 | 0 |  | 0
| 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 101 | 13 |  | FU1-3,9-17,20 | FUSE TERMINAL ASK1 | WEIDMULLER 04745620000 |  |  |  | 0 | 0 | 0 |  | 0
| 102 | 4 |  | FITTED TO: FU3,9,17,20 | END PLATE AP | WEIDMULLER 0380360000 |  |  |  | 0 | 0 | 0 |  | 0
| 103 | 2 |  | FITTED BETWEEN FU10-1 | CROSS SECTION BAR OB4 | WEIDMULLER 0461300000 |  |  |  | 0 | 0 | 0 |  | 0
| 104 | 3 |  | FITTED IN: FU1-3 | FUSE CARTRIDGE 1A, 20x5mm | BUSSMANN S506-1-R |  |  |  | 0 | 0 | 0 |  | 0
| 105 | 6 |  | FITTED IN: FU12-17 | FUSE CARTRIDGE 2A, 20x5mm | BUSSMANN S506-2-R |  |  |  | 0 | 0 | 0 |  | 0
| 106 | 1 |  | FITTED IN: FU20 | FUSE CARTRIDGE 4A, 20x5mm | BUSSMANN S506-4-R |  |  |  | 0 | 0 | 0 |  | 0
| 107 | 1 |  | FITTED IN: FU11 | FUSE CARTRIDGE 6A, 20x5mm | BUSSMANN S506-6-R |  |  |  | 0 | 0 | 0 |  | 0
| 108 | 1 |  | FITTED IN:FU9 | FUSE CARTRIDGE 10A, 20x5mm | BUSSMANN S506-10-R |  |  |  | 0 | 0 | 0 |  | 0
| 109 | 1 |  | FITTED IN: IN FU10 | FUSE CARTRIDGE 12.5A, 20x5mm | BUSSMANN S506-12.5-R |  |  |  | 0 | 0 | 0 |  | 0
| 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 111 | 10 |  | LK9-17,20 | DISCONNECT TERMINAL SAKR/35 | WEIDMULLER 0172160000 |  |  |  | 0 | 0 | 0 |  | 0
| 112 | 3 |  | FITTED TO: LK9,17,20 | END PLATE AP | WEIDMULLER 02113600000 |  |  |  | 0 | 0 | 0 |  | 0
| 113 | 2 |  | N.D. | CROSS-CONNECT COMB 6mm 4-POLE | WEIDMULLER 0482900000 |  |  |  | 0 | 0 | 0 |  | 0
| 114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 115 | 1 |  | PSU1 | POWER SUPPLY UNIT 24Vdc 10A | PHOENIX CONTACT 2866763 |  |  |  | 0 | 0 | 0 |  | 0
| 116 | 1 |  | PSU2 | POWER SUPPLY UNITY 24Vdc 20A | PHOENIX CONTACT 2866776 |  |  |  | 0 | 0 | 0 |  | 0
| 117 | 2 |  | PSU3,PSU4 | POWER SUPPLY UNIT 110Vdc 4A | PHOENIX CONTACT 2904613 |  |  |  | 0 | 0 | 0 |  | 0
| 118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 119 | 2 |  | TT1,RT2 | THERMISTOR RELAY 24-240Vdc, 2xC.O. | SCHNEIDER ELEC. LT3-SA00MW |  |  |  | 0 | 0 | 0 |  | 0
| 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 121 | 1 |  | KM1 | CONTACTOR 3P 630A 110Vdc COIL | SCHNEIDER ELEC. LC1F630FD |  |  |  | 0 | 0 | 0 |  | 0
| 122 | 1 |  | FITTED TO: KM1 | VARISTOR 50-110Vac/dc COIL | SCHNEIDER ELEC. LA4 FVF |  |  |  | 0 | 0 | 0 |  | 0
| 13 | 1 | SET | FITTED TO: KM1 | CONTACTOR TERMINAL SHROUDS | SCHNEIDER ELEC. LA9 F704 |  |  |  | 0 | 0 | 0 |  | 0
| 124 | 1 |  | FITTED TO: KM1 | AUX CONTACT BLOCK 2xN.O. & 2xN.C | SCHNEIDER ELEC. LAD N22 |  |  |  | 0 | 0 | 0 |  | 0
| 125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 126 | 1 |  | F1 | OVERLOAD RELAY RANGE 380-630A | SCHNEIDER ELEC. LR9 F7381 |  |  |  | 0 | 0 | 0 |  | 0
| 127 | 1 |  | FITTED: TO F1 | MOUNTING PLATE | SCHNEIDER ELEC. LA7 F902 |  |  |  | 0 | 0 | 0 |  | 0
| 128 | 2 | SET | FITTED: TO F1 | BUSBAR CONNECTORS | SCHNEIDER ELEC. LA7 F406 |  |  |  | 0 | 0 | 0 |  | 0
| 129 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 133 | 2 |  | KM4,KM5 | CONTACTOR 3P 9A 24Vdc COIL | SCHNEIDER ELEC. LC1D09BD |  |  |  | 0 | 0 | 0 |  | 0
| 134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 135 | 14 |  | K6,8,9,11,12,13-22 | RELAY SPDT 24Vdc COIL | OMRON G2RV-SR500 DC24 |  |  |  | 0 | 0 | 0 |  | 0
| 136 | 5 |  | K1-3,7,10 | PLUG IN RELAY DPDT 24Vdc COIL | OMRON G2R-2-SNDI-DC24 |  |  |  | 0 | 0 | 0 |  | 0
| 137 | 5 |  | K1-3,7,10 | RELAY BASE (PUSH-IN) | OMRON P2RF-08-PU |  |  |  | 0 | 0 | 0 |  | 0
| 138 | 1 |  | K21 | PLUG IN RELAY 4PDT 110Vdc COIL | OMRON MY4N-DC100/100-(S) |  |  |  | 0 | 0 | 0 |  | 0
| 139 | 1 |  | K21 | RELAY BASE (PUSH-IN) | OMRON PYF-14-PU |  |  |  | 0 | 0 | 0 |  | 0
| 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 141 | 6 |  | K5,KA2-6 | PLUG IN RELAY 4PDT 24Vdc COIL | OMRON MY4IN1-D2-24DC(S) |  |  |  | 0 | 0 | 0 |  | 0
| 142 | 6 |  | K5,KA2-6 | RELAY BASE (PUSH-IN) | OMRON PYF-14-PU |  |  |  | 0 | 0 | 0 |  | 0
| 143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 144 | 1 |  | E1 | PHASE & VOLTAGE MONITOR RELAY 160-690V RANGE | SIEMENS 3UG4617-1CR20 |  |  |  | 0 | 0 | 0 |  | 0
| 145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 146 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 147 | 1 |  | E2 | CURRENT TRANSFORMER 600/5A | ELTIME CONTROLS MF060-600/5 |  |  |  | 0 | 0 | 0 |  | 0
| 148 | 1 |  | E2A | CURRENT TRANSDUCER 4-20mA | ELETIME CONTROLS ECCP--C5-E5-XA-F50 |  |  |  | 0 | 0 | 0 |  | 0
| 149 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 150 | 3 |  | E3,E7,E8 | GALVANIC ISOLATOR 24Vdc SUPPLY | PEPPER & FUCHS KFDO-RO-2 |  |  |  | 0 | 0 | 0 |  | 0
| 151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 152 | 2 |  | E4A,E4B | SIGNAL SPLITTER MINI MCR-SL-UI-21-NC | PHOENIX CONTACT 2864176 |  |  |  | 0 | 0 | 0 |  | 0
| 153 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 154 | 2 |  | E5,E6 | LIQUID INJ. CONTROLLER 24Vac | DANFOSS EKC 315A |  |  |  | 0 | 0 | 0 |  | 0
| 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 156 | 1 |  | ETM | ELAPSED TIME METER 12-48Vdc/20-60Vac | CURTIS 701-T-R-001-0-1248D260A |  |  |  | 0 | 0 | 0 |  | 0
| 157 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 158 | 5 |  | HL3,4,5,6,7 | LAMP HEAD WHITE | SCHNEIDER ELEC. ZB4-BV013 |  |  |  | 0 | 0 | 0 |  | 0
| 159 | 5 |  | FITTED TO HL2,3,5,6,7 | LED LAMP BODY 24Vac/dc WHITE | SCHNEIDER ELEC. ZB4 BVB1 |  |  |  | 0 | 0 | 0 |  | 0
| 160 | 1 |  | HL1 | LAMP HEAD RED | SCHNEIDER ELEC. ZB4-BV043 |  |  |  | 0 | 0 | 0 |  | 0
| 161 | 1 |  | FITTED TO HL1 | LEP LAP BODY 24Vac/dc RED | SCHNEIDER ELEC. ZB4-BVB4 |  |  |  | 0 | 0 | 0 |  | 0
| 162 | 3 |  | HL4,8,9 | LAMP HEAD YELLOW/AMBER | SCHNEIDER ELEC. ZB4-BV053 |  |  |  | 0 | 0 | 0 |  | 0
| 163 | 3 |  | FITTED TO HL4,8,9 | LED LAMP BODY 24Vac/dc YELLOW/AMBER | SCHNEIDER ELEC. ZB4-BVB5 |  |  |  | 0 | 0 | 0 |  | 0
| 164 | 8 |  | D1-8 | LAMP TEST DIODE 24Vac/dc | SCHNEIDER ELEC. ZBZ G156 |  |  |  | 0 | 0 | 0 |  | 0
| 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 166 | 2 |  | SB1,SB2 | PUSH BUTTON HEAD FLUSH WHITE | SCHNEIDER ELEC. ZB4-BA1 |  |  |  | 0 | 0 | 0 |  | 0
| 167 | 2 |  | FITTED TO SB1,SB2 | COMPLETE BODY 2xN.O. | SCHNEIDER ELEC. ZB4-BZ103 |  |  |  | 0 | 0 | 0 |  | 0
| 168 | 1 |  | ES | EMERG. STOP HEAD ϕ40 PUSHBUTTON RED | SCHNEIDER ELEC. ZB4-BS844 |  |  |  | 0 | 0 | 0 |  | 0
| 169 | 1 |  | FITTED TO ES | COMPLETE BODY 2xN.C. | SCHNEIDER ELEC. ZB4-BZ104 |  |  |  | 0 | 0 | 0 |  | 0
| 170 | 1 |  | FITTED TO ES | ϕ60 CIRCULAR LABEL (EMERGENCY STOP) | SCHNEIDER ELEC. ZBY9320 |  |  |  | 0 | 0 | 0 |  | 0
| 171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 172 | 1 |  | SA1 | SELECTOR SWITCH 2 POSITION 90° 5-POLE | KRAUS & NAIMER CA10B-GBS496-EF |  |  |  | 0 | 0 | 0 |  | 0
| 173 | 1 |  | SA1 | ESCUTCHEON PLATE (OFF/RESET - ON) | KRAUS & NAIMER F*AGB8892-97 |  |  |  | 0 | 0 | 0 |  | 0
| 174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 175 | 219 |  | N.D, | FEED THRO' TERMINAL SAK2.5/35 | WEIDMULLER 0380460000 |  |  |  | 0 | 0 | 0 |  | 0
| 176 | 24 |  | N.D, | EARTH TERMINAL EK2.5/35 | WEIDMULLER 0661060000 |  |  |  | 0 | 0 | 0 |  | 0
| 177 | 8 |  | N.D, | END PLATE AP (SAK2.5) | WEIDMULLER 0279560000 |  |  |  | 0 | 0 | 0 |  | 0
| 178 | 1 |  | CUT TO SUIT | CROSS CONNECT UNIT Q10 (SAK2.5) | WEIDMULLER 0368700000 |  |  |  | 0 | 0 | 0 |  | 0
| 179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 180 | A/R |  | N.D, | MOUNTING RAIL(DIN) TS35x15 | WEIDMULLER 0236400000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 181 | A/R |  | N.D, | END BRACKET (DIN) WEW35/2 | WEIDMULLER 1061200000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 182 | A/R |  | N.D, | MOUNTING RAIL (SLOTTED) TS15 | WEIDMULLER 0117510000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 184 | 1 |  | XS1-4-SOCKET (4) | SOCKET HOUSING 2 WAY (PACK OF 5) | RS COMPONENTS 484-1748 |  | RS COMPONENTS | 1.83 | 0 | 1.83 | 1.83 |  | 1.83
| 185 | 1 |  | FITTED IN: XS1-4 (SOCKET) (4) | STANDARD CONTACTS 18-24 AWG. RECEPTACLE (PACK OF 100) | RS COMPONENTS 172-9134 |  | RS COMPONENTS | 9.8 | 0 | 9.8 | 9.8 |  | 9.8
| 186 | 1 |  | XS1-4-PLUG (4) | PLUG HOUSING 2 WAY ( PACK OF 5) | RS COMPONENTS 679-5802 |  | RS COMPONENTS | 1.84 | 0 | 1.84 | 1.84 |  | 1.84
| 187 | 4 |  | FITTED IN: XS1-4 (PLUG) (4) | STANDARD CONTACTS 18-24 AWG. PIN (PACK OF 100) | RS COMPONENTS 172-9140 |  | RS COMPONENTS | 7.3 | 0 | 7.3 | 29.2 |  | 29.2
| 188 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 189 | 1 |  | N.D, | 2" MALE BRASS BUSH | NIGLON (CEF) 0007-2505 |  |  |  | 0 | 0 | 0 |  | 0
| 190 | 1 |  | N.D, | 2" LOCK RING | NIGLONG (CEF) 0007-2409 |  |  |  | 0 | 0 | 0 |  | 0
| 191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 192 | 1 |  | KA1 | CONTROL RELAY 110Vdc COIL | SCHNEIDER ELEC. CA3 KN31FD |  |  |  | 0 | 0 | 0 |  | 0
| 193 | 1 |  | FITTED TO KA1 | VARISTOR 50-129Vac/dc COIL | SCHNEIDER ELEC. LA4KE1FC |  |  |  | 0 | 0 | 0 |  | 0
| 194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 195 | 1 |  | P3843/1/TCB | TOP CABLE BOX | MILD STEEL PAINTED RAL50005 |  |  |  | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[9 empty] | Materials Cost Total |  |  | #VALUE!
[10 empty] | Average Value Markup |  |  | #VALUE!
[11 empty] | Materials Total |  |  | #VALUE!