## Materials
|  |  |  | IES Ref: | Q0771
|  |  |  | Title: | 9DWV/2DWQ Chillers & Heaters
|  |  |  | Subject: | 9DWV / 2DWQ Chiller and Heater - Fridgewatch Panel (100531922) |  | Do Not Order |  |  |  | Check Total | 0
|  |  |  | Date: | 2025-01-24 |  | Already Ordered
|  |  |  | Time: | 9:36 |  | Order |  |  | Panel Ref: | Enter panel serial number if appropriate
COSTING SHEET - 2024
IMS 5204 - IES WORKS COSTING SCHEDULE - Rev. 1-9
Parts Description | Panel Reference | Qty | Unit | Part N° | Parts Description | Additional Details | Manufacturer | Supplier | List Price (£) | Discount (%) | Nett Unit (£) | Nett Total (£) | Markup (%) | Selling (£) | Date Order Issued to Procurement Dept. | Status
| 1 | 1 |  |  | S.S. ENCLOSURE 600x 600x210 | RITTAL AE 1010.500 |  |  |  | 0 | 0 | 0 |  | 0
| 2 | 1 |  |  | S.S. WALL BRACKETS | RITTAL 2433.500 |  |  |  | 0 | 0 | 0 |  | 0
| 3 | 1 |  |  | S.S. RAIN CANOPY | RITTAL 2473.000 |  |  |  | 0 | 0 | 0 |  | 0
| 4 | 1 |  | 1Q1 | ISOLATOR | SOCOMEC SIRCO M20 |  |  |  | 0 | 0 | 0 |  | 0
| 5 | 13 |  | 2K2, 2K3, 5K3, 5K4, 5K5, 6K1, 6K2, 6K3, 6K4,6K5, 6K6, 6K7, 6K8 | SINGLE POLE RELAY | OMRON G2RV-SL701-24VDC+PRRF05E |  |  |  | 0 | 0 | 0 |  | 0
| 6 | 1 |  |  | CROSS BAR | OMRON P2RMVM-100-B |  |  |  | 0 | 0 | 0 |  | 0
| 7 | 1 |  |  | MARKER | OMRON R9915 |  |  |  | 0 | 0 | 0 |  | 0
| 8 | 8 |  | 5K1, 5K2, 5K6, 5K7, 5K, 7K1, 7K2, 7K3 | SOLID STATE RELAY + BASE | OMRON G3RV-SR700-D DC24 |  |  |  | 0 | 0 | 0 |  | 0
| 9 | 6 |  | FS.1, FS.2, FS.3, FS.4 FS.5, FS.6 | FUSE HOLDER | IMO ERF2 |  |  |  | 0 | 0 | 0 |  | 0
| 10 | 107 |  |  | DOUBLE STACK TERMINAL | IMO ERD2.5 |  |  |  | 0 | 0 | 0 |  | 0
| 11 | 10 |  |  | CROSS CONNECTION 10W | IMO CC2.5/10 |  |  |  | 0 | 0 | 0 |  | 0
| 12 | 6 |  |  | END PLATE | IMO EPD2.5 |  |  |  | 0 | 0 | 0 |  | 0
| 13 | 12 |  |  | END STOP | IMO ES1 |  |  |  | 0 | 0 | 0 |  | 0
| 14 |  |  |  | TERMINAL MARKER | RME PRINTED TO SUIT |  |  |  | 0 | 0 | 0 |  | 0
| 15 | 1 |  |  | EARTH TERMINAL | IMO ERPE 2.5/4 |  |  |  | 0 | 0 | 0 |  | 0
| 16 | 8 |  |  | TERMINAL | IMO ER2.5 |  |  |  | 0 | 0 | 0 |  | 0
| 17 | 1 |  |  | BUSBAR | ERICO 12 X 3 X M5 |  |  |  | 0 | 0 | 0 |  | 0
| 18 | 13 |  |  | SCREWS/WASHERS/STARS | M5 X 10 |  |  |  | 0 | 0 | 0 |  | 0
| 19 | 1 |  | 2K1 | 2 POLE RELAY BASE | OMRON P2RF-08-E |  |  |  | 0 | 0 | 0 |  | 0
| 20 | 1 |  | 2K1 | 2 POLE RELAY 24DC | OMRON G2R-2-SN-24DC |  |  |  | 0 | 0 | 0 |  | 0
| 21 | 1 |  | E1 | ANTI-COND. HEATER | STEGO 06030.1-00 |  |  |  | 0 | 0 | 0 |  | 0
| 22 |  |  | TH1 | ANTI-COND. HEATER THERMOSTAT | STEGO 01140.0-00 |  |  |  | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
|  | 1 | [7 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[9 empty] | Materials Cost Total |  |  | 0
[10 empty] | Average Value Markup |  |  | #DIV/0!
[11 empty] | Materials Total |  |  | 0