## Materials
|  |  |  | IES Ref: | Q0771-DERB
|  |  |  | Title: | DER B Chillers
|  |  |  | Subject: | DER B Starter / Control Panel (100531440) |  | Do Not Order |  |  |  | Check Total | #VALUE!
|  |  |  | Date: | 2025-01-15 |  | Already Ordered
|  |  |  | Time: | 9:28 |  | Order |  |  | Panel Ref: | Enter panel serial number if appropriate
COSTING SHEET - 2024
IMS 5204 - IES WORKS COSTING SCHEDULE - Rev. 1-9
Parts Description | Panel Reference | Qty | Unit | Part N° | Parts Description | Additional Details | Manufacturer | Supplier | List Price (£) | Discount (%) | Nett Unit (£) | Nett Total (£) | Markup (%) | Selling (£) | Date Order Issued to Procurement Dept. | Status
| 1 | 1 | No | P3841/0/ENP | POWER SECTION ENCLOSURE | Mild Steel Painted RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 2 | 1 | No | P3841/0/ENC | CONTROL SECTION ENCLOSURE | MILD Steel Painted RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 3 | 2 | No | P3841/0/DRPL P3841/0/DRPR | POWER SECTION DOORS | Mild Steel Painted RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 4 | 1 | No | P3841/0/DRC | CONTROL SECTION DOOR | Mild Steel Painted RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 5 | 1 | No | P3841/0/IPP | POWER SECTION INTERNAL PANEL | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 6 | 1 | No | P3841/0/IPC | CONTROL SECTION INTERNAL PANEL | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 7 | 4 | No | P3841/2/GP# | GLAND PLATE | 2.5mm MILD STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 8 | 5 | No | P3841/0/RS | REAR STRAP | MILD STEEL RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 9 | 1 | No | P3841/1/RC | REMOVABLE CHANEL | MILD STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 10 | NO | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 11 | 1 | NO | P3841/3/ISP | ISOLATOR PLATE 350mm*380mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 12 | 4 | NO | P3841/4/IPS | ISOLATOR PLATE SPACERS Ø25*180mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 13 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 14 | 3 | NO | N.D. | TERMINAL REAL SPACERS Ø25*25mm | Ø25 BLACK NYLON |  |  |  | 0 | 0 | 0 |  | 0
| 15 | 3 | NO | P3841/4/TBS | TIE BAR SPACERS Ø10*15mm | STAINLESS STEEL |  |  |  | 0 | 0 | 0 |  | 0
| 16 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 17 | 1 | NO | ( CUT TO SUIT ) | COPPER EARTH BAR 20*5mm ( 2MTR ) | ERICO 549010 |  |  |  | 0 | 0 | 0 |  | 0
| 18 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 19 | 3 | NO | P3241/4/DSB | DOOR STAY ENCLOSURE BRACKET | MILD STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 20 | 3 | NO | P3841/4/DSA P3841/4/DSN | DOOR STAY ARM & NUT | MS/AL.ALLOY PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 21 | NA |  | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 22 | 9.8MTR | NO | N.D. | ENCLOSURE EMC/IP GASKET | SOLIANI A 3208-E-SC |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 23 | 4.4 MTR | NO | N.D. | GLANDPLATE EMC/IP GASKET | P&P TECHNOLOGY SP-M-0020-0227-S/A |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 24 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 25 | 9 | NO | N.D. | DOOR HINGES | EMKA 1110-U2 |  |  |  | 0 | 0 | 0 |  | 0
| 26 | 2 | NO | N.D. | T-HANDLE, KEY OP. | SOUTHCO E3-18-15 |  |  |  | 0 | 0 | 0 |  | 0
| 27 | 7 | NO | N.D. | COMPRESSION LATCH | SOUTHCO E3-19-15 |  |  |  | 0 | 0 | 0 |  | 0
| 28 | 7 | NO | N.D. | PULL - TAB | SOUTHCO E3- 27-1 |  |  |  | 0 | 0 | 0 |  | 0
| 29 | 9 | NO | N.D. | LATCH GASKET | SOUTHCO E3-24-201-18 |  |  |  | 0 | 0 | 0 |  | 0
| 30 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 31 | 4 | NO | N.D. | M16 LIFTING EYEBOLTS | RS COMPONENTS 673-658 |  | RS COMPONENTS | 7.53 | 0 | 7.53 | 30.12 |  | 30.12
| 32 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 33 | AS REQ | NO | N.D. | HALOGEN FREE TRUNKING H75mm*W37.5mm GREY | CABLECRAFT 20470034H |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 34 | 1 | NO | ST1 | THERMOSTAT N.O. | RS COMPONENTS 121-7323 |  | RS COMPONENTS | 28.69 | 0 | 28.69 | 28.69 |  | 28.69
| 35 | 1 | NO | N.D. | A4 DOCUMENTS POCKET | ELDON DRAO4 |  |  |  | 0 | 0 | 0 |  | 0
| 36 | 1 | NO | U1 | EMC VENTILATION FAN 24Vdc, PF32.000 IP55 | PFANNENBERG 11832803055 |  |  |  | 0 | 0 | 0 |  | 0
| 37 | 2 | NO | N.D. | EMC VENTILATION OUTLET PF32.000 | PFANNENBERG 11930001055 |  |  |  | 0 | 0 | 0 |  | 0
| 38 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 39 | 1 | NO | P3841 /4/ DL | DUTY LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 40 | 1 | NO | P3841 /3/ ID | IDENTIFICATION LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 41 | 2 | NO | P3841 /4/ VL | 690 VOLTAGE LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 42 | 2 | NO | P3841 /4 / HVL | HIGH VOLTAGE LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 43 | 1 | NO | P3841/4 / MIL | MAIN ISOLATOR LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 44 | 1 SET | NO | P3841 /3 / LPB | LAMB AND BUTTON LABELS | TO BE MFD |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 45 | 1 | NO | N.D. | EARTH LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 46 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 47 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 48 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 49 | AS REQ | NO | AC POWER | FLEXI BAR LSZH 3*20*1 | ERICO 534011 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 50 | AS REQ | NO | AC POWER | EQUIPMENT. CABLE LSZH 2.5mm^2 BROWN | ELAND CABLES, A2ZBR0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 51 | AS REQ | NO | AC POWER | EQUIPMENT. CABLE LSZH 2.5mm^2 BLACK | ELAND CABLES, A2ZBK0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 52 | AS REQ | NO | AC POWER | EQUIPMENT. CABLE LSZH 2.5mm^2 GRAY | ELAND CABLES, A2ZGR0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 53 | AS REQ | NO | AC POWER | EQUIPMENT. CABLE LSZH 1mm^2 BROWN | ELAND CABLES A2ZBR0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 54 | AS REQ | NO | AC POWER | EQUIPMENT. CABLE LSZH, LSZH 1mm^2 BLACK | ELAND CABLES A2ZBK0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 55 | AS REQ | NO | AC POWER | EQUIPMENT. CABLE LSZH, LSZH 1mm^2 GRAY | ELAND CABLES A2ZGR0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 56 | AS REQ | NO | AC CONTROL | EQUIPMENT. CABLES LSZH 2.5mm^2 RED | ELAND CABLES A2ZRD0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 57 | AS REQ | NO | AC CONTROL | EQUIPMENT. CABLES LSZH 1.5mm^2 RED | ELAND CABLES A2ZRD0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 58 | AS REQ | NO | AC CONTROL | EQUIPMENT. CABLES LSZH 1mm^2 RED | ELAND CABLES A2ZRD0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 59 | AS REQ | NO | DC CONTROL | EQUIPMENT. CABLES LSZH 2.5mm^2 BLUE | ELAND CABLES, A2ZBL0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 60 | AS REQ | NO | DC CONTROL | EQUIPMENT. CABLES LSZH 1.5mm^2 BLUE | ELAND CABLES, A2ZBL0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 61 | AS REQ | NO | DC CONTROL | EQUIPMENT. CABLES LSZH 1mm^2 BLUE | ELAND CABLES, A2ZBL0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 62 | AS REQ | NO | VOLT FREE | EQUIPMENT. CABLES LSZH 1mm^2 WHITE | ELAND CABLES, A2ZWH0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 63 | AS REQ | NO | N.D. | EQUIPMENT. CABLES SCREEN TWISTED PAIR | RAYCHEM 44A1 121-22-0 /9-9 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 64 | 1 | NO | N.D.(A/R) | 10-15mm BRAID SLEEVE (25m) | FARNELL 322-3360 |  | FARNELL | 26.79 | 0 | 26.79 | 26.79 |  | 26.79
| 65 | AS REQ | NO | EARTH BONDING | FLAT COPPER BRAID 90AMPS | CALBE CRAFT FCB90 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 66 | AS REQ | NO | N.D. | L.S.H HEATSHRINK SLEEVE GREEN/YELLOW | CALBE CRAFT CY10.0ZH |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 67 | AS REQ | NO | ( EARTH ) | EQUIPMENT. CABLE LSZH 2.5mm^2 GRAY/YELLOW | ELAND CABLES A2ZGY0025 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 68 | AS REQ | NO | ( EARTH ) | EQUIPMENT. CABLE LSZH 1mm^2 GRAY/YELLOW | ELAND CABLES A2ZGY0010 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 69 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 70 | 1 | NO | IS1 | SWITCH DISCONNECTOR 3P 250A | SCHNEIDER ELEC. GS2N3 |  |  |  | 0 | 0 | 0 |  | 0
| 71 | 3 | NO | FITTED TO IS1 | DIN FUSES 250A SIZE 1 | RS COMPONENET 703-8800 |  |  |  | 0 | 0 | 0 |  | 0
| 72 | 2 | NO | FITTED TO IS1 | TERMINAL SHROUDS 3P | SCHNEIDER ELEC. GS1AP43 |  |  |  | 0 | 0 | 0 |  | 0
| 73 | 1 | NO | FITTED TO IS1 | EXTENTSION SHAFT 400mm | SCHNEIDER ELEC. GS2AE21 |  |  |  | 0 | 0 | 0 |  | 0
| 74 | 1 | NO | FITTED TO IS1 | HANDLE FRONT MOUNTED | SCHNEIDER ELEC. GS2AH535 |  |  |  | 0 | 0 | 0 |  | 0
| 75 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 76 | 1 | NO | EMI | LINE FILTER 250A | SCHAFFNER FN 3359HV-250-28 |  |  |  | 0 | 0 | 0 |  | 0
| 77 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 78 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 79 | 1 | NO | TX1 | TRANSFORMER, 1kVA PRI-690V SEC-230V | RJW ENGINEERING ST1000 |  |  |  | 0 | 0 | 0 |  | 0
| 80 | 1 | NO | TX2 | TRANSFORMER, 1kVA PRI-690V SEC-120V | RJW ENGINEERING ST1000 |  |  |  | 0 | 0 | 0 |  | 0
| 81 | 2 | NO | TX3/TX4 | TRANSFORMER, 100VA PRI-690V SEC-400V | RJW ENGINEERING ST100 |  |  |  | 0 | 0 | 0 |  | 0
| 82 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 83 | 1 | NO | QF1 | MCCB-3 POLE NSX400HB1 320A | SCHNEIDER ELEC. C40V31M320 |  |  |  | 0 | 0 | 0 |  | 0
| 84 | 2 | NO | FITTED TO: QF1 | TERMINAL SHIELDS SHORT | SCHNEIDER ELEC. LV432591 |  |  |  | 0 | 0 | 0 |  | 0
| 85 | 2 | NO | FITTED TO: QF1 | AUXILIARY CONTACT BLOCK C.O. | SCHNEIDER ELEC. 29450 |  |  |  | 0 | 0 | 0 |  | 0
| 86 | 2 | NO | QF2,QF3 | MOTOR BREAKER, 3-POLE 4A, TYPE D | SCHNEIDER ELEC. GV2LE08 |  |  |  | 0 | 0 | 0 |  | 0
| 87 | 1 | NO | FITTED TO: QF2 | AUXILIARY CONTACT BLOCK N.O & N.C | SCHNEIDER ELEC. GVAE11 |  |  |  | 0 | 0 | 0 |  | 0
| 88 | 1 | NO | QF4 | MOTOR BREAKER, 3-POLE 1A, TYPE. D | SCHNEIDER ELEC. GV2LE05 |  |  |  | 0 | 0 | 0 |  | 0
| 89 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 90 | 2 | NO | QF20,21 | MCB 1-POLE 2A, TYPE D | SCHNEIDER ELEC. A9F55102 |  |  |  | 0 | 0 | 0 |  | 0
| 91 | 2 | NO | QF10,11 | MCB 1-POLE 10A, TYPE B | SCHNEIDER ELEC. A9F53110 |  |  |  | 0 | 0 | 0 |  | 0
| 92 | 3 | NO | FITTED TO: QF11, 20,21 | AUXILIARY CONACT BLOCK C.O. | SCHNEIDER ELEC. A9A26927 |  |  |  | 0 | 0 | 0 |  | 0
| 93 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 94 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 95 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 96 | 11 | NO | FU1 -3,9-16 | FUSE TERMINAL ASK1 | WEIDMULLER 0474560000 |  |  |  | 0 | 0 | 0 |  | 0
| 97 | 4 | NO | N.D. | END PLATE AP | WEIDMULLER 0380360000 |  |  |  | 0 | 0 | 0 |  | 0
| 98 | 2 | NO | FITTED BETWEEN FU10-15 | CROSS SECTION BAR QB4 | WEIDMULLER 046130000 |  |  |  | 0 | 0 | 0 |  | 0
| 99 | 4 | NO | FITTED IN: FU1-3, 16 | FUSE CARTRIDGE 0.5A, 20*5mm | BUSSMANN S506-0.5A-R |  |  |  | 0 | 0 | 0 |  | 0
| 100 | 4 | NO | FITTED IN: FU12-15 | FUSE CARTRIDGE 2A, 20*5mm | BUSSMANN S506-2A-R |  |  |  | 0 | 0 | 0 |  | 0
| 101 | 1 | NO | FITTED IN : FU11 | FUSE CARTRIDGE 6.3A, 20*5mm | BUSSMANN S506-6.3A-R |  |  |  | 0 | 0 | 0 |  | 0
| 102 | 1 | NO | FITTED IN: FU9 | FUSE CARTRIDGE 10A, 20*5mm | BUSSMANN S506-10A-R |  |  |  | 0 | 0 | 0 |  | 0
| 103 | 1 | NO | FITTED IN: FU10 | FUSE CARTRIDGE 12.5A, 20*5mm | BUSSMANN S506-12.5A-R |  |  |  | 0 | 0 | 0 |  | 0
| 104 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 105 | 1 | NO | PSU1 | POWER SUPPLY UNIT 24Vdc 10A | PHOENIX CONTACT 2866763 |  |  |  | 0 | 0 | 0 |  | 0
| 106 | 1 | NO | PSU2 | POWER SUPPLY UNIT 24Vdc 20A | PHOENIX CONTACT 2866776 |  |  |  | 0 | 0 | 0 |  | 0
| 107 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 108 | 2 | NO | RT1,RT2 | THERMISTOR RELAY 24-230Vdc, 2*C.O. | SCHNEIDER ELEC. LT3-SA00MW |  |  |  | 0 | 0 | 0 |  | 0
| 109 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 110 | 1 | NO | KM1 | CONTACTOR 3P, 265A 24Vdc COIL | SCHNEIDER ELEC. LC1 F265BD |  |  |  | 0 | 0 | 0 |  | 0
| 111 | 1 | NO | FITTED TO: KM1 | AUX CONTACT BLOCK 2*N.O. & 2*N.C. | SCHNEIDER ELEC. LAD N22 |  |  |  | 0 | 0 | 0 |  | 0
| 112 | 1 | NO | FITTED TO: KM1 | VARISTOR 24-48Vdc COIL | SCHNEIDER ELEC. LA4 FVE |  |  |  | 0 | 0 | 0 |  | 0
| 113 | 1SET | NO | FITTED TO: KM1 | 1 POLE TERMINAL SHROUDS | SCHNEIDER ELEC. LA9 F703 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 114 | 1 | NO | F1 | OVERLOAD RELAY RANGE 132-220A | SCHNEIDER ELEC. LR9 F5371 |  |  |  | 0 | 0 | 0 |  | 0
| 115 | 1 | NO | FITTED TO: F1 | MOUNTING PLATE | SCHNEIDER ELEC. LA7 F901 |  |  |  | 0 | 0 | 0 |  | 0
| 116 | 1 SET | NO | FITTED TO: F1 | 1 POLE TERMINAL SHROUDS | SCHNEIDER ELEC. LA9 F705 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 117 | 1 | NO | FITTED TO: KM1-F1 | 3 POLE TERMINAL SHROUD | SCHNEIDER ELEC. LA7 F702 |  |  |  | 0 | 0 | 0 |  | 0
| 118 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 119 | 2 | NO | KM4,KM5 | CONTACTOR 3P, 9A 24Vdc COIL | SCHNEIDER ELEC. LC1D09BD |  |  |  | 0 | 0 | 0 |  | 0
| 120 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 121 | 8 | NO | K5,10-16 | RELAY SPDT 24Vdc COIL | OMRON G2RV - SR500 DC24 |  |  |  | 0 | 0 | 0 |  | 0
| 122 | 3 | NO | K1,K2,K3 | PLUG IN RELAY DPDT 24Vdc COIL | OMRON G2R-2-SNDI-DC24 |  |  |  | 0 | 0 | 0 |  | 0
| 123 | 3 | NO | K1,K2,K3 | RELAY BASE (PUSH - IN) | OMRON P2RF-08-PU |  |  |  | 0 | 0 | 0 |  | 0
| 124 | 4 | NO | KA2,KA3,KA4,KA5 | PLUG IN RELAY 4PDT 24Vdc COIL | OMRON MY4IN1-D2-24DC(S) |  |  |  | 0 | 0 | 0 |  | 0
| 125 | 4 | NO | KA2,KA3,KA4,KA5 | RELAY BASE (PUSH - IN) | OMRON PYF - 14-PU |  |  |  | 0 | 0 | 0 |  | 0
| 126 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 127 | 1 | NO | E1 | PHASE & VOLTAGE MONITOR RELAY 160-690V RANGE | SIEMENS 3UG4617-1CR20 |  |  |  | 0 | 0 | 0 |  | 0
| 128 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 129 | 1 | NO | E2 | CURRENT TRANSFORMER 250/5A | ELTIME CONTROLS MF040-250/5 |  |  |  | 0 | 0 | 0 |  | 0
| 130 | 1 | NO | E2A | CURRENT TRANSDUCER 4-20mA | ELTIME CONTROLS ECCP-C5-E5-XA-F50 |  |  |  | 0 | 0 | 0 |  | 0
| 131 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 132 | 3 | NO | E3,E4,E5 | GALVANIC ISOLATOR 24Vdc SUPPLT | PEPPER & FUCHS KFDO-RO-2 |  |  |  | 0 | 0 | 0 |  | 0
| 133 | 1 | NO | E6 | SIGNAL ISOLATOR 24Vdc SUPPLY | PR ELECTRONICS 5104AA |  |  |  | 0 | 0 | 0 |  | 0
| 134 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 135 | 1 | NO | ETM | ELAPSED TIME METER 12-48Vdc /20-60Vac | CURTIS 701-T-R-001-0-1248D2060A |  |  |  | 0 | 0 | 0 |  | 0
| 136 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 137 | 4 | NO | HL2,3,5,6 | LAMP HEAD WHITE | SCHNEIDER ELEC. ZB4-BV013 |  |  |  | 0 | 0 | 0 |  | 0
| 138 | 4 | NO | FITTED TO HL2,3.5,6 | LED LAMP BODY 24Vac / dc WHITE | SCHNEIDER ELEC. ZB4-BVB1 |  |  |  | 0 | 0 | 0 |  | 0
| 139 | 1 | NO | HL1 | LAMP HEAD RED | SCHNEIDER ELEC. ZB4-BV043 |  |  |  | 0 | 0 | 0 |  | 0
| 140 | 1 | NO | FITTED TO HL1 | LED LAMP BODY 24Vac / dc RED | SCHNEIDER ELEC. ZB4-BVB4 |  |  |  | 0 | 0 | 0 |  | 0
| 141 | 3 | NO | HL4, 7 ,8 | LAMP HEAD YELLOW / AMBER | SCHNEIDER ELEC. ZB4-BV053 |  |  |  | 0 | 0 | 0 |  | 0
| 142 | 3 | NO | FITTED TO: HL4,7,8 | LED LAMP BODY 24Vac /dc YELLOW/AMBER | SCHNEIDER ELEC. ZB4-BVB5 |  |  |  | 0 | 0 | 0 |  | 0
| 143 | 7 | NO | D1-7 | LAMP TEST DIODE 24Vac/dc | SCHNEIDER ELEC. ZBZ G156 |  |  |  | 0 | 0 | 0 |  | 0
| 144 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 145 | 2 | NO | SB1,SB2 | PUSH BUTTON HEAD FLUSH WHITE | SCHNEIDER ELEC. ZB4-BA1 |  |  |  | 0 | 0 | 0 |  | 0
| 146 | 2 | NO | FITTED TO SB1,SB2 | COMPLETE BODY 2*N.O. | SCHNEIDER ELEC. ZB4-BZ103 |  |  |  | 0 | 0 | 0 |  | 0
| 147 | 1 | NO | ES | EMERG. STOP HEAD Ø40 PUSHBUTTON RED | SCHNEIDER ELEC. ZB4-BS844 |  |  |  | 0 | 0 | 0 |  | 0
| 148 | 1 | NO | FITTED TO ES | COPMPLETE BODY 2*N.C. | SCHNEIDER ELEC. ZB4-BZ104 |  |  |  | 0 | 0 | 0 |  | 0
| 149 | 1 | NO | FITTED TO ES | Ø60 CIRCULAR LABEL (EMERGENCY STOP) | SCHNEIDER ELEC. ZBY9320 |  |  |  | 0 | 0 | 0 |  | 0
| 150 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 151 | 1 | NO | SA1 | SELECTOR SWITCH 2 POSITION 90 5-POLE | KRAUS & NAIMER UK CA11B GBS368-700EF |  |  |  | 0 | 0 | 0 |  | 0
| 152 | 1 | NO | SA1 | ESCUTCHEON PLATE (OFF/RESET-ON) | KRAUS & NAIMER UK F*GB8892-97 |  |  |  | 0 | 0 | 0 |  | 0
| 152 | 1 | NO | SA2 | ESCUTCHEON PLATE (OFF/RESET-ON) | KRAUS & NAIMER UK F*GB8892-98 |  |  |  | 0 | 0 | 0 |  | 0
| 152 | 1 | NO | SA3 | ESCUTCHEON PLATE (OFF/RESET-ON) | KRAUS & NAIMER UK F*GB8892-99 |  |  |  | 0 | 0 | 0 |  | 0
| 153 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 154 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 155 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 156 | 150 | NO | N.D. | FEED THRO TERMINAL SAK2.5/35 | WIEDMULLER 0380460000 |  |  |  | 0 | 0 | 0 |  | 0
| 157 | 14 | NO | N.D. | EARTH TERMINAL EK2.5/35 | WIEDMULLER 0661060000 |  |  |  | 0 | 0 | 0 |  | 0
| 158 | 9 | NO | N.D. | END PLATE AP (SAK2.5) | WIEDMULLER 0279560000 |  |  |  | 0 | 0 | 0 |  | 0
| 159 | 1 | NO | N.D. | CROSS CONNECT UNIT Q10 (SAK2.5) | WIEDMULLER 0368700000 |  |  |  | 0 | 0 | 0 |  | 0
| 160 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 161 | AS REQ | NO | N.D. | MOUNTING RAIL (DIN) TS35*15 | WIEDMULLER 0236400000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 162 | 46 | NO | N.D. | END BRACKET (DIN) WEW35/2 | WIEDMULLER 1061200000 |  |  |  | 0 | 0 | 0 |  | 0
| 163 | AS REQ | NO | N.D. | MOUNTING RAIL (SLOTTED) TS15 | WIEDMULLER 0117510000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 164 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 165 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 166 | 8 | NO | LK9-16 | DISCONNECT TERMINAL SAKR/35 | WIEDMULLER 0172160000 |  |  |  | 0 | 0 | 0 |  | 0
| 167 | 3 | NO | FITTED TO: LK9,LK15,LK16 | END PLATE AP | WIEDMULLER 0211360000 |  |  |  | 0 | 0 | 0 |  | 0
| 168 | 1 |  | N.D. | CROSS- CONNECT COMB 6mm 3-POLE | WIEDMULLER 0482800000 |  |  |  | 0 | 0 | 0 |  | 0
| 169 | 1 | NO | N.D. | CROSS- CONNECT COMB 6mm 4-POLE | WIEDMULLER 0482900000 |  |  |  | 0 | 0 | 0 |  | 0
| 170 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 171 | 1 | NO | XS1-SOCKET | SOCKET HOUSING 2 WAY | RS COMPONENETS 484-1748 |  |  |  | 0 | 0 | 0 |  | 0
| 172 | 1 | NO | FITTED IN: XS1 (SOCKET) | STANDARD CONTACTS 18-24 AWG. RECEPTACLE | RS COMPONENETS 172-9134 |  |  |  | 0 | 0 | 0 |  | 0
| 173 | 1 | NO | XS1- PLUG | PLUG HOUSING 2 WAY | RS COMPONENETS 676-5802 |  |  |  | 0 | 0 | 0 |  | 0
| 174 | 1 | NO | FITTED IN: XS1 (PLUG ) | STANDARD CONTACTS 18-24 AWG. PIN | RS COMPONENETS 172-9140 |  |  |  | 0 | 0 | 0 |  | 0
| 175 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 176 | 1 | NO | N.D. | 2" MALE BRASS BUSH | NIGLON (CEF) 0007-2505 |  |  |  | 0 | 0 | 0 |  | 0
| 177 | 1 | NO | N.D. | 2" LOCKRING | NIGLON (CEF) 0007-2409 |  |  |  | 0 | 0 | 0 |  | 0
| 178 | NA | NA | NA | NA | NA |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 179 | 1 | NO | KA1 | CONTROL RELAY 24Vdc COIL | SCHNEIDER ELEC. CA3 KN40BD |  |  |  | 0 | 0 | 0 |  | 0
| 180 | 1 | NO | FITTED TO : KA1 | VARISTOR 12-24Vdc COIL | SCHNEIDER ELEC. LA4KE1B |  |  |  | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[9 empty] | Materials Cost Total |  |  | #VALUE!
[10 empty] | Average Value Markup |  |  | #VALUE!
[11 empty] | Materials Total |  |  | #VALUE!