## Materials
|  |  |  | IES Ref: | Q0771
|  |  |  | Title: | DVW Chillers & Heaters
|  |  |  | Subject: | DVW Chiller and Heater - Starter / Control Panel (100531937) |  | Do Not Order |  |  |  | Check Total | #VALUE!
|  |  |  | Date: | 2025-01-17 |  | Already Ordered
|  |  |  | Time: | 11:09 |  | Order |  |  | Panel Ref: | Enter panel serial number if appropriate
COSTING SHEET - 2024
IMS 5204 - IES WORKS COSTING SCHEDULE - Rev. 1-9
Parts Description | Panel Reference | Qty | Unit | Part N° | Parts Description | Additional Details | Manufacturer | Supplier | List Price (£) | Discount (%) | Nett Unit (£) | Nett Total (£) | Markup (%) | Selling (£) | Date Order Issued to Procurement Dept. | Status
| 1 | 1 | NO | P3891 | MAIN /CHILLER SECTION ENCLOSURE | STAINLESS STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 2 | 1 | NO | P3891 | REMOVABLE CHANNEL | STAINLESS STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 3 | 2 | NO | P3891 | MAIN /CHILLER SECTION DOORS | STAINLESS STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 4 | 1 | NO | P3891 | HEATER SECTION ENCLOSURE | STAINLESS STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 5 | 1 | NO | P3891 | HEATER SECTION DOOR | STAINLESS STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 6 | 1 | NO | P3891 | ENCLOSURE WEATHER CANOPY | STAINLESS STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 7 | 1 | NO | P3891 | MAIN/CHILLER SECTION INTERNAL PANEL | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 8 | 1 | NO | P3891 | HEATER SECTION INTERNAL PANEL | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 9 | 3 | NO | P3891 | GLAND PLATE (LARGE) | STAINLESS STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 10 | 1 | NO | P3891 | GLAND PLATE (SMALL) | STAINLESS STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 11 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 12 | 1 | NO | P3891 | ISOLATOR PLATE | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 13 | 4 | NO | P3891 | ISOLATOR PLATE SPACER Ø20*175mm | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 14 | 1 | NO | P3891 | CONTROLLER PRACKET | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 15 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 16 | 1 | NO | N.D. | VIEWING WINDOW STAINLESS S-127*76.2mm | HAMMOND MANUFACTURING 1481WN4SS0503^2 |  |  |  | 0 | 0 | 0 |  | 0
| 17 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 18 | AS REQ | NO | CUT TO SUIT | COPPER EARTH BAR 20*5mm | ERICO 549010 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 19 | 5 | NO | P3891 | EARTH BAR SPACER Ø12*15mm.LG | MILD STEEL ZINC PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 20 | 3 | NO | P3291 | DOOR STAY ENCLOSURE BRACKET | MILD STEEL PAINTED RAL 5005 |  |  |  | 0 | 0 | 0 |  | 0
| 21 | 3 | NO | P3891 | DOOR STAY ARM & NUT | MS/AL.ALLOY PLATED |  |  |  | 0 | 0 | 0 |  | 0
| 22 | 14.9 MTR | NO | N.D. | ENCLOSURE IP SEALING GASKET | EMKA 1101-10 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 23 | 5.0 MTR | NO | N.D. | GLAND PLATE IP SEALING GASKET | RS COMPONENTS 163-4735 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 24 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 25 | 12 | NO | N.D. | DOOR HINGS, SS | EMKA 1110-U50 |  |  |  | 0 | 0 | 0 |  | 0
| 26 | 2 | NO | N.D. | T-HANDLE LATCH + CAM PADLOCKABLE, ST.STEEL | SOUTHCO E3-160-012+E3-28-201-24 |  |  |  | 0 | 0 | 0 |  | 0
| 27 | 7 | NO | N.D. | COMPRESSION LATCH SLOT , ST. STEEL | SOUTHCO E3-19-10 |  |  |  | 0 | 0 | 0 |  | 0
| 28 | 7 | NO | N.D. | PULL - TAB | SOUTHCO E3-27-1 |  |  |  | 0 | 0 | 0 |  | 0
| 29 | 9 | NO | N.D. | LATCH GASKET | SOUTHCO E3-24-201-18 |  |  |  | 0 | 0 | 0 |  | 0
| 30 | 4 | NO | N.D. | M16 LIFTING EYEBOLTS | RS COMPONENTS 673-658 |  |  |  | 0 | 0 | 0 |  | 0
| 31 | 4 | NO | N.D. | M16 SEALING WASHER | NYLON |  |  |  | 0 | 0 | 0 |  | 0
| 32 | AS REQ | NO | N.D. | HALOGEN FREE TRUNKING H75mm * W40mm GREY | CABLECRAFT 20440034 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 33 | AS REQ | NO | N.D. | HALOGEN FREE TRUNKING H75mm * W50mm GREY | CABLECRAFT 20440054 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 34 | AS REQ | NO | N.D. | 10-15mm BRAID SLEEVE | FARNELL 322-3360 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 35 | 1 | NO | N.D. | A4 DOCUMENT POCKET | ELDON DRA04 |  |  |  | 0 | 0 | 0 |  | 0
| 36 | 2 | NO | ST1,ST2 | THERMOSTAT N.O/N.C | SCHNEIDER ELEC. NSYCCOTHD |  |  |  | 0 | 0 | 0 |  | 0
| 37 | 2 | NO | U1,U2 | VENTILATION FAN 24Vdc, IP55 PF43.000 | PFANNENBERG 11643803055 |  |  |  | 0 | 0 | 0 |  | 0
| 38 | 2 | NO | N.D. | VENTILATION OUTLET IP55 PFA40.000 | PFANNENBERG 11740003055 |  |  |  | 0 | 0 | 0 |  | 0
| 39 | 4 | NO | N.D. | RAINHOOD, ST . STEEL | PFANNENBERG 18102000017 |  |  |  | 0 | 0 | 0 |  | 0
| 40 | 1 | NO | U5 | VENTILATION FAN 115Vac, IP55 PF66.000 | PFANNENBERG 11666153055 |  |  |  | 0 | 0 | 0 |  | 0
| 41 | 1 | NO | N.D. | VENTILATION OUTLET IP55 PFA60.000 | PFANNENBERG 11760003055 |  |  |  | 0 | 0 | 0 |  | 0
| 42 | 2 | NO | N.D. | RAINHOOD, ST . STEEL | PFANNENBERG 18102000020 |  |  |  | 0 | 0 | 0 |  | 0
| 43 | 2 | NO | U3,U4 | ENCLOSURE HEATER 400W 110Vac | FARNELL ACH400 400W 110V |  |  |  | 0 | 0 | 0 |  | 0
| 44 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 45 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 46 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 47 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 48 | 1 | NO | P3893 | EDF IDENTIFICATION LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 49 | 3 | NO | P3891 | 400 VOLTAGE LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 50 | 3 | NO | P3891 | HIGH VOLTAGE LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 51 | 1 | NO | P3891 | ISOLATOR LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 52 | 1 SET | NO | P3891 | LAMP / BUTTON LABEL | TO BE MFD |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 53 | 2 | NO | P3891 | EARTH LABEL | TO BE MFD |  |  |  | 0 | 0 | 0 |  | 0
| 54 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 55 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 56 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 57 | AS REQ | NO | AC POWER | FLEXIBAR, HALOGEN FREE 6*40*1 | ERICO 537730 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 58 | AS REQ | NO | AC POWER | FLEXIBAR, HALOGEN FREE 5*24*1 | ERICO 537580 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 59 | 1 | NO | N.D. | FLEXIBAIR CLAMPS, FS40-63 | ERICO 553570 |  |  |  | 0 | 0 | 0 |  | 0
| 60 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 61 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 35mm^2 BLACK | ELAND CABLES A2ZBK035 | meter cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 62 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 35mm^2 BROWN | ELAND CABLES A2ZBR035 | meter cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 63 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 35mm^2 GREY | ELAND CABLES A2ZGR035 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 64 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 10mm^2 BLACK | ELAND CABLES A2ZBK010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 65 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 10mm^2 BROWN | ELAND CABLES A2ZBR010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 66 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 10mm^2 GREY | ELAND CABLES A2ZGR010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 67 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 4mm^2 BLACK | ELAND CABLES A2ZBK0040 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 68 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 4mm^2 BROWN | ELAND CABLES A2ZBR0040 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 69 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 4mm^2 GREY | ELAND CABLES A2ZGR0040 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 70 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 4mm^2 BLUE | ELAND CABLES A2ZBL0040 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 71 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 2.5mm^2 BLACK | ELAND CABLES A2ZBK0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 72 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 2.5mm^2 BROWN | ELAND CABLES A2ZBR0025 | 100mt cost |  |  | 0 | 0 | #REF! |  | #REF!
| 73 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 2.5mm^2 GREY | ELAND CABLES A2ZGR0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 74 | AS REQ | NO | AC/DC POWER | EQUIPMENT CABLE LSZH 2.5mm^2 BLUE | ELAND CABLES A2ZBL0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 75 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 1.5mm^2 SQ BLACK | ELAND CABLES A2ZBK0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 76 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 1.5mm^2 SQ BROWN | ELAND CABLES A2ZBR0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 77 | AS REQ | NO | AC POWER | EQUIPMENT CABLE LSZH 1.5mm^2 AQ GREY | ELAND CABLES A2ZGR0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 78 | AS REQ | NO | AC CONTROL | EQUIPMENT CABLE LSZH 1.5mm^2 SQ RED | ELAND CABLES A2ZRD0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 79 | AS REQ | NO | AC CONTROL | EQUIPMENT CABLE LSZH 1mm^2 SQ RED | ELAND CABLES A2ZRD0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 80 | AS REQ | NO | DC CONTROL | EQUIPMENT CABLE LSZH 2.5mm^2 SQ BLUE | ELAND CABLES A2ZBL0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 81 | AS REQ | NO | DC CONTROL | EQUIPMENT CABLE LSZH 1.5mm^2 SQ BLUE | ELAND CABLES A2ZBL0015 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 82 | AS REQ | NO | DC CONTROL | EQUIPMENT CABLE LSZH 1mm^2 SQ BLUE | ELAND CABLES A2ZBL0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 83 | AS REQ | NO | VOLT FREE | EQUIPMENT CABLE LSZH 1mm^2 SQ WHITE | ELAND CABLES A2ZWH0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 84 | AS REQ | NO | (EARTH) | EQUIPMENT CABLE LSZH 2.5mm^2 SQ GREY/YELLOW | ELAND CABLES A2ZGY0025 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 85 | AS REQ | NO | (EARTH) | EQUIPMENT CABLE LSZH 1mm^2 SQ GREY/YELLOW | ELAND CABLES A2ZGY0010 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 86 | AS REQ | NO | N.D. | EQUIPMENT CABLE SCREEN TWISTED PAIR | RAYCHEM 99M1 121-22-0/9-9 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 87 | 0 | 0 | 0 | 0 | 0 | 100mt cost |  |  | 0 | 0 | 0 |  | 0
| 88 | AS REQ | NO | EARTH BONDING | FLAT COPPER BRAID 90AMPS | ELAND CABLES FCB90 | 100mt cost |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 89 | AS REQ | NO | N.D. | L.S.H. HEATSHRINK SLEEVE GREEN/YELLOW | CABLECRAFT CY10.0ZH |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 90 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 91 | 1 | NO | IS1 | SWITCH DISCONNECTOR 3P 630A | SCHNEIDER ELEC. GS2S3 |  |  |  | 0 | 0 | 0 |  | 0
| 92 | 3 | NO | FITTED TO IS1 | TAG FUSES 550A DIN 3 | KEMPSTON CONTROLS 170M6809D |  |  |  | 0 | 0 | 0 |  | 0
| 93 | 2 | NO | FITTED TO IS1 | TERMINAL SHROUDS 3P | SCHNIEDER ELEC. GS2AP73 |  |  |  | 0 | 0 | 0 |  | 0
| 94 | 1 | NO | FITTED TO IS1 | EXLENSION SHAFT 400mm 12*12mm | SCHNIEDER ELEC. GS2AE51 |  |  |  | 0 | 0 | 0 |  | 0
| 95 | 1 | NO | FITTED TO IS1 | HANDLE FRONT MOUNTED | SCHNIEDER ELEC. GS2AH550 |  |  |  | 0 | 0 | 0 |  | 0
| 96 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 97 | 1 | NO | EM1 | LINE FILTER 600A | SCHNIEDER ELEC. FN 3359-600-99 |  |  |  | 0 | 0 | 0 |  | 0
| 98 | 1 PAIR | NO | FITTED TO EM1 | LINE FILTER PROTECTIVE COVERS | SCHAFFNER 801920 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 99 | 1 | NO | TX1 | TRANSFORMER, 1.5kVA PRI-400V SEC - 230V | SOMER 2000 LTD ST1500 |  |  |  | 0 | 0 | 0 |  | 0
| 100 | 2 | NO | TX2, TX3 | TRANSFORMER, 2.5kVA PRI-400V SEC - 230V | SOMER 2000 LTD ST2500 |  |  |  | 0 | 0 | 0 |  | 0
| 101 | 1 | NO | TX4 | TRANSFORMER, 2.5kVA PRI-400V SEC - 120V | SOMER 2000 LTD ST2500 |  |  |  | 0 | 0 | 0 |  | 0
| 102 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 103 | 1 | NO | TX7 | TRANSFORMER, 750VA PRI-400V SEC - 110V | SOMER 2000 LTD ST750 |  |  |  | 0 | 0 | 0 |  | 0
| 104 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 105 | 1 | NO | QF1 | MCCB-3POLE NSX630R 500A | SCHNIEDER ELEC. C63R31M500 |  |  |  | 0 | 0 | 0 |  | 0
| 106 | 2 | NO | FITTED TO QF1 | TERMINAL SHIELDS SHORT | SCHNIEDER ELEC. LV432591 |  |  |  | 0 | 0 | 0 |  | 0
| 107 | 2 | NO | FITTED TO QF1 | AUXILIARY CONTACT BLOCK N.O. | SCHNIEDER ELEC. 29450 |  |  |  | 0 | 0 | 0 |  | 0
| 108 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 109 | 1 | NO | QF2 | MCB 3-POLE 63A, TYPE D | SCHNIEDER ELEC. A9F55363 |  |  |  | 0 | 0 | 0 |  | 0
| 110 | 1 | NO | FITTED TO QF2 | MCB AUXILIARY CONTACT N.O. | SCHNIEDER ELEC. A9A26924 |  |  |  | 0 | 0 | 0 |  | 0
| 111 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 112 | 1 | NO | TB | TERMINAL BLOCK | SCHNIEDER ELEC. GV2G05 |  |  |  | 0 | 0 | 0 |  | 0
| 113 | 8 | NO | QF3-10 | MOTOR BREAKER 3 POLE 6-10A | SCHNIEDER ELEC. GV2ME14 |  |  |  | 0 | 0 | 0 |  | 0
| 114 | 8 | NO | FITTED TO: QF3-10 | FRONT AUXILIARY BLOCK N.O. + N.C. | SCHNIEDER ELEC. GVAE11 |  |  |  | 0 | 0 | 0 |  | 0
| 115 | 2 | NO | FITTED TO: TB, QF3-8 | COMB BUS BAR, 4-WAY 45MM PITCH | SCHNIEDER ELEC. GV2G445 |  |  |  | 0 | 0 | 0 |  | 0
| 116 | 1 | NO | FITTED TO: QF8-10 | COMB BUS BAR, 3-WAY 45MM PITCH | SCHNIEDER ELEC. GV2G345 |  |  |  | 0 | 0 | 0 |  | 0
| 117 | 1 | NO | QF15 | MCB 2-POLE 4A, TYPE D | SCHNIEDER ELEC. A9F55204 |  |  |  | 0 | 0 | 0 |  | 0
| 118 | 1 | NO | QF11 | MCB 2-POLE 6A, TYPE D | SCHNIEDER ELEC. A9F55206 |  |  |  | 0 | 0 | 0 |  | 0
| 119 | 3 | NO | QF12-14 | MCB 2-POLE 10A, TYPE D | SCHNIEDER ELEC. A9F55212 |  |  |  | 0 | 0 | 0 |  | 0
| 120 | 4 | NO | FITTED TO: QF11, 12,13,15 | MCB AUXILIARY CONTACT N.O | SCHNIEDER ELEC. A9A26924 |  |  |  | 0 | 0 | 0 |  | 0
| 121 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 122 | 12 | NO | QF20-25,28-33 | MCB 2-POLE 2A, TYPE B | SCHNIEDER ELEC. A9F53202 |  |  |  | 0 | 0 | 0 |  | 0
| 123 | 2 | NO | QF26,27 | MCB 2-POLE 4A, TYPE B | SCHNIEDER ELEC. A9F53204 |  |  |  | 0 | 0 | 0 |  | 0
| 124 | 11 | NO | FITTED TO: QF23- 33 | RESIDUAL CURRENT DEVICE 25A, 30mA TRIP | SCHNIEDER ELEC. A9V51225 |  |  |  | 0 | 0 | 0 |  | 0
| 125 | 14 | NO | FITTED TO: QF20- 33 | MCB AUXILIARY CONTACT N.O. | SCHNIEDER ELEC. A9A26924 |  |  |  | 0 | 0 | 0 |  | 0
| 126 | 1 | NO | FITTED TO QF20-22 | COMB BUS BAR 2-POLE +AUXILIARY | SCHNIEDER ELEC. A9XAH257 |  |  |  | 0 | 0 | 0 |  | 0
| 127 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 128 | 1 | NO | QF40 | MCB 1-POLE 4A, TYPE B | SCHNIEDER ELEC. A9F53104 |  |  |  | 0 | 0 | 0 |  | 0
| 129 | 2 | NO | QF37, 39 | MCB 1-POLE 2A, TYPE D | SCHNIEDER ELEC. A9F55102 |  |  |  | 0 | 0 | 0 |  | 0
| 130 | 2 | NO | QF36, 38 | MCB 1-POLE 4A, TYPE D | SCHNIEDER ELEC. A9F55104 |  |  |  | 0 | 0 | 0 |  | 0
| 131 | 2 | NO | QF34,35 | MCB 1-POLE 10A, TYPE B | SCHNIEDER ELEC. A9F53110 |  |  |  | 0 | 0 | 0 |  | 0
| 132 | 6 | NO | FITTED TO: QF35-40 | MCB AUXILIARY CONTACT N.O. | SCHNIEDER ELEC. A9A26924 |  |  |  | 0 | 0 | 0 |  | 0
| 133 | 2 | NO | FITTED TO: QF34-40, 37-39 | COMB BUS BAR 1- POLE + AUXILIARY | SCHNIEDER ELEC. A9XAH157 |  |  |  | 0 | 0 | 0 |  | 0
| 134 | 0 | 0 | 0 | 0 | 0 |  |  |  | 1 | 0 | 0 |  | 0
| 135 | 2 | NO | PSU1, PSU2 | POWER SUPPLY UNIT 24Vdc 20A | PHOENIX CONTACT 2866776 |  |  |  | 0 | 0 | 0 |  | 0
| 136 | 1 | NO | PSU3 | POWER SUPPLY UNIT 48Vdc 5A | PHOENIX CONTACT 2904610 |  |  |  | 0 | 0 | 0 |  | 0
| 137 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 138 | 15 | NO | FU1-3, FU10-14 FU20-25, FU30, | FUSE TERMINAL ASK1 | WEIDMULLER 0474560000 |  |  |  | 0 | 0 | 0 |  | 0
| 139 | 4 | NO | FITTED TO: FU3,14, 25, 30 | END PLATE AP | WEIDMULLER 0380360000 |  |  |  | 0 | 0 | 0 |  | 0
| 140 | 1 | NO | FITTED BETWEEN: FU13-14 | CROSS-CONNECT COMB 8mm 2-POLE | WEIDMULLER 0461100000 |  |  |  | 0 | 0 | 0 |  | 0
| 141 | 1 | NO | FITTED BETWEEN FU23-25 | CROSS-CONNECT COMB 8mm 3-POLE | WEIDMULLER 0461200000 |  |  |  | 0 | 0 | 0 |  | 0
| 142 | 2 | NO | FITTED IN : FU10-13, 20-23 | CROSS-CONNECT COMB 8mm 4-POLE | WEIDMULLER 0461300000 |  |  |  | 0 | 0 | 0 |  | 0
| 143 | 2 | NO | FITTED IN : FU12,13 | FUSE CARTRIDGE 0.5A, 20*5mm | BUSSMANN S506-0.5A-R |  |  |  | 0 | 0 | 0 |  | 0
| 144 | 4 | NO | FITTED IN : FU1-3,25 | FUSE CARTRIDGE 1A, 20*5mm | BUSSMANN S506-1A-R |  |  |  | 0 | 0 | 0 |  | 0
| 145 | 7 | NO | FITTED IN : FU11, 14, 21-24,30 | FUSE CARTRIDGE 2A, 20*5mm | BUSSMANN S506-2A-R |  |  |  | 0 | 0 | 0 |  | 0
| 146 | 1 | NO | FITTED IN : FU10 | FUSE CARTRIDGE 5A, 20*5mm | BUSSMANN S506-5A-R |  |  |  | 0 | 0 | 0 |  | 0
| 147 | 1 | NO | FITTED IN : FU20 | FUSE CARTRIDGE 12.5A, 20*5mm | BUSSMANN S506-12.5A-R |  |  |  | 0 | 0 | 0 |  | 0
| 148 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 149 | 12 | NO | LK10-14, 20-25, 30 | DISCONNECT TERMINAL SAKR/35 | WEIDMULLER 0172160000 |  |  |  | 0 | 0 | 0 |  | 0
| 150 | 3 | NO | FITTED BETWEEN LK14, 25, 30 | END PLATE AP | WEIDMULLER 0211360000 |  |  |  | 0 | 0 | 0 |  | 0
| 151 | 1 | NO | FITTED BETWEEN LK13-14 | CROSS-CONNECT COMB 6.5mm 2-POLE | WEIDMULLER 0482700000 |  |  |  | 0 | 0 | 0 |  | 0
| 152 | 1 | NO | FITTED BETWEEN: LK23-25 | CROSS-CONNECT COMB 6.5mm 3-POLE | WEIDMULLER 0482800000 |  |  |  | 0 | 0 | 0 |  | 0
| 153 | 2 | NO | FITTED BETWEEN: LK10-13, 20-23 | CROSS-CONNECT COMB 6.5mm 4-POLE | WEIDMULLER 0482900000 |  |  |  | 0 | 0 | 0 |  | 0
| 154 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 155 | 1 | NO | FU7, FU8, FU9 | NH FUSE BASE SIZE.2 400A 690Vac | BUSSMANN TD2-D |  |  |  | 0 | 0 | 0 |  | 0
| 156 | 3 | NO | FITTED TO: FU7, FU8, FU9 | IP20 PROTECTION KIT | BUSSMANN TD2-IP20 |  |  |  | 0 | 0 | 0 |  | 0
| 157 | 3 | NO | FITTED TO: FU7, FU8, FU9 | NH2 TAG FUSE 160A 500Vac | RS COMPONENTS 395-541 |  |  |  | 0 | 0 | 0 |  | 0
| 158 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 159 | 1 | NO | E1 | PHASE/ VOLTAGE MONITOR RELAY 160-690V RANGE | SIEMENS 3UG4617-1CR20 |  |  |  | 0 | 0 | 0 |  | 0
| 160 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 161 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 162 | 1 | NO | E2 | CURRENT TRANSDUCER 0-400A (4-20mA) | RS COMPONENTS 527-8696 |  |  |  | 0 | 0 | 0 |  | 0
| 163 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 164 | 2 | NO | SKA1, SKA2 | SAFETY CONTACTOR 24Vdc COIL , 60A RATING | ALLEN BRADLEY 100S-C60DJ22C |  |  |  | 0 | 0 | 0 |  | 0
| 165 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 166 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 167 | 1 | NO | KM1 | CONTACTOR 3P 400A 120Vac COIL | SCHNEIDER ELEC. LC1F500ED |  |  |  | 0 | 0 | 0 |  | 0
| 168 | 2 | NO | FITTED TO: KM1 | AUXILIARY CONTACT BLOCK 2*N.O. & 2*N.C. | SCHNEIDER ELEC. LAD N22 |  |  |  | 0 | 0 | 0 |  | 0
| 169 | 1 | NO | FITTED TO: KM1 | VARISTOR 24-48Vdc | SCHNEIDER ELEC. LA4FVE |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 170 | 1 | NO | F1 | OVERLOAD RELAY RANGE 200-330A | SCHNEIDER ELEC. LR9F7375 |  |  |  | 0 | 0 | 0 |  | 0
| 171 | 1 | NO | FITTED TO: F1 | OVERLOAD RELAY MOUNTING PLATE | SCHNEIDER ELEC. LA7F902 |  |  |  | 0 | 0 | 0 |  | 0
| 172 | 1 | NO | FITTED TO: KM1, F1 | 3-POLE TERMINAL SHROUD | SCHNEIDER ELEC. LA7F703 |  |  |  | 0 | 0 | 0 |  | 0
| 173 | 1 SET | NO | FITTED TO: KM1, F1 | 1-POLE TERMINAL SHROUD | SCHNEIDER ELEC. LA9F703 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 174 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 175 | 1 | NO | KM4 | CONTACTOR 3P 65A 24Vdc COIL | SCHNEIDER ELEC. LC1D65ABD |  |  |  | 0 | 0 | 0 |  | 0
| 176 | 1 | NO | FITTED TO: KM4 | AUX CONTACT BLOCK 2*N.O. & 2*N.C. | SCHNEIDER ELEC. LAD N22 |  |  |  | 0 | 0 | 0 |  | 0
| 177 | 1 | NO | F2 | OVERLOAD RELAY RANGE 48-65A | SCHNEIDER ELEC. LRD365 |  |  |  | 0 | 0 | 0 |  | 0
| 178 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 179 | 1 | NO | KM5 | CONTACTOR 3P 200A(AC1) 24Vdc COIL | SCHNEIDER ELEC. LC1F115BD |  |  |  | 0 | 0 | 0 |  | 0
| 180 | 1 | NO | FITTED TO: KM5 | AUXILIARY CONTACT BLOCK 4*N.O. | SCHNEIDER ELEC. LAD N40 |  |  |  | 0 | 0 | 0 |  | 0
| 181 | 1 SET | NO | FITTED TO: KM5 | TERMINAL SHROUD | SCHNEIDER ELEC. LA9D 701 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 182 | 1 | NO | FITTED TO: KM5 | VARISTOR 24-48Vac/dc | SCHNEIDER ELEC. LA4FVE |  |  |  | 0 | 0 | 0 |  | 0
| 183 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 184 | 1 | NO | KM6 | CONTACTOR 3P 6A 24Vdc COIL | SCHNEIDER ELEC. LP1K0610BD |  |  |  | 0 | 0 | 0 |  | 0
| 185 | 1 | NO | FITTED TO: KM6 | VARISTOR 12-24Vac/dc | SCHNEIDER ELEC. LA4KE1B |  |  |  | 0 | 0 | 0 |  | 0
| 186 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 187 | 1 | NO | E3 | EPOWER THYRISTOR MODULE 3-PHASE , 160A (110V FANS) | EUROTHERM EPOWER / 3PH-160A/690V/115V |  |  |  | 0 | 0 | 0 |  | 0
| 188 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 189 | 1 | NO | E5 | EPOWER CONTROLLER | EUROTHERM MODEL 3504 |  |  |  | 0 | 0 | 0 |  | 0
| 190 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 191 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 192 | 3 | NO | RT1-3 | THERMISTOR RELAY 24-240V, 2*C.O. | SCHNEIDER ELEC. LT3-SA00MW |  |  |  | 0 | 0 | 0 |  | 0
| 193 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 194 | 3 | NO | KT1, KT2, KT4 | TIMER RELAY , DELAY - OFF 24-240V, 2*C.O. | SCHNEIDER ELEC. RE22R2CMR |  |  |  | 0 | 0 | 0 |  | 0
| 195 | 1 | NO | KT3 | TIMER RELAY , DELAY - ON 24-240V, 2*C.O. | SCHNEIDER ELEC. RE22R2AMU |  |  |  | 0 | 0 | 0 |  | 0
| 196 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 197 | 2 | NO | E4, E6 | UNIVERSAL TRANSMITTER 24Vdc SUPPLY | PR ELECTRONICS PR4116 |  |  |  | 0 | 0 | 0 |  | 0
| 198 | 1 | NO | FITTED TO: E4. E6 | DISPLAY / PROG. FRONT | PR ELECTRONICS 4501 |  |  |  | 0 | 0 | 0 |  | 0
| 199 | 4 | NO | E7-10 | GALVANCING ISOLATOR 24Vdc SUPPLY | PEPPER AND FUCHS KFDO-RO-2 |  |  |  | 0 | 0 | 0 |  | 0
| 200 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 201 | 1 | NO | K30 | RELAY SPDT 48Vdc COIL | OMRON G2RV-SR500 DC48 |  |  |  | 0 | 0 | 0 |  | 0
| 202 | 5 | NO | K20-24 | RELAY DPDT 24Vdc COIL | OMRON G2RV-SR500 DC24 |  |  |  | 0 | 0 | 0 |  | 0
| 203 | 11 | NO | K1-5, 11-14, 25, KA27 | PLUG IN RELAY DPDT 24Vdc COIL | OMRON P2R-2-SNDI-0 DC24 |  |  |  | 0 | 0 | 0 |  | 0
| 204 | 11 | NO | KA1-5,11-14,25,KA27 | RELAY BASE (PUSH - IN) | OMRON P2RF-08-PU |  |  |  | 0 | 0 | 0 |  | 0
| 205 | 28 | NO | KA1-26 | PLUG IN RELAY 4PDT 24Vdc COIL | OMRON MY4IN1-D2-24DC(S) |  |  |  | 0 | 0 | 0 |  | 0
| 206 | 28 | NO | KA1-26 | RELAY BASE (PUSH - IN) | OMRON PYF-14-PU |  |  |  | 0 | 0 | 0 |  | 0
| 207 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 208 | 1 | NO | SA | SELECTOR SWITCH 2 POSITION | UK SOLENOID LIMITED CA11 |  |  |  | 0 | 0 | 0 |  | 0
| 209 | 1 | NO | SA | ESCUTCHEON PLATE OFF - RESET/ON | UK SOLENOID LIMITED F*GB |  |  |  | 0 | 0 | 0 |  | 0
| 210 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 211 | 2 | NO | SB1, SB2 | PUSH BUTTON HEAD FLUSH WHITE | SCHNEIDER ELEC. ZB4-BA1 |  |  |  | 0 | 0 | 0 |  | 0
| 212 | 2 | NO | SB3, SB5 | PUSH BUTTON HEAD FLUSH GREEN | SCHNEIDER ELEC. ZB4-BA3 |  |  |  | 0 | 0 | 0 |  | 0
| 213 | 2 | NO | SB4, SB6 | PUSH BUTTON HEAD FLUSH RED | SCHNEIDER ELEC. ZB4-BA4 |  |  |  | 0 | 0 | 0 |  | 0
| 214 | 4 | NO | FITTED TO: SB1,2,3,5 | COMPLETE BODY N.O. | SCHNEIDER ELEC. ZB4-BZ101 |  |  |  | 0 | 0 | 0 |  | 0
| 215 | 2 | NO | FITTED TO: SB4, 6 | CONTACT BLOCK N.C. | SCHNEIDER ELEC. ZB4-BZ102 |  |  |  | 0 | 0 | 0 |  | 0
| 216 | 6 | NO | FITTED TO: SB1 | CONTACT BLOCK N.O. | SCHNEIDER ELEC. ZBE-101 |  |  |  | 0 | 0 | 0 |  | 0
| 217 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 218 | 1 | NO | KS1 | KEY SWITCH HEAD 2-POS. STAY PUT | SCHNEIDER ELEC. ZB4-BG2 |  |  |  | 0 | 0 | 0 |  | 0
| 219 | 1 | NO | FITTED TO: KS1 | COMPLETE BODY N.O. | SCHNEIDER ELEC. ZB4-BZ101 |  |  |  | 0 | 0 | 0 |  | 0
| 220 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 221 | 1 | NO | ES | EMERGENCY. STOP HEAD Ø40 PUSH BUTTON RED | SCHNEIDER ELEC. ZB4-BS844 |  |  |  | 0 | 0 | 0 |  | 0
| 222 | 1 | NO | FITTED TO: ES | COMPLETE BODY 2*N.C. | SCHNEIDER ELEC. ZB4-BZ104 |  |  |  | 0 | 0 | 0 |  | 0
| 223 | 1 | NO | FITTED TO: ES | Ø60 CIRCULAR LABEL (EMERGENCY STOP) | SCHNEIDER ELEC. ZBY9320 |  |  |  | 0 | 0 | 0 |  | 0
| 224 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 225 | 7 | NO | HL3, 4, 6, 7, 10, 12, 13 | LAMP HEAD WHITE | SCHNEIDER ELEC. ZB4 - BV013S |  |  |  | 0 | 0 | 0 |  | 0
| 226 | 7 | NO | FITTED TO: HL3, 4, 6, 7, 10., 12, 13 | LED LAMP BODY 24Vac/dc WHITE | SCHNEIDER ELEC. ZB4 - BVB1 |  |  |  | 0 | 0 | 0 |  | 0
| 227 | 1 | NO | HL1 | LAMP HEAD RED | SCHNEIDER ELEC. ZB4 - BV043S |  |  |  | 0 | 0 | 0 |  | 0
| 228 | 1 | NO | FITTED TO: HL1 | LED LAMP BODY 24Vac/dc RED | SCHNEIDER ELEC. ZB4 - BVB4 |  |  |  | 0 | 0 | 0 |  | 0
| 229 | 17 | NO | HL5, 8, 9, 11, 14-26 | LAMP HEAD YELLOW/ AMBER | SCHNEIDER ELEC. ZB4 - BV053S |  |  |  | 0 | 0 | 0 |  | 0
| 230 | 17 | NO | FITTED TO: HL5, 8, 9, 11, 14-26 | LED LAMP BODY 24Vac/dc YELLOW / AMBER | SCHNEIDER ELEC. ZB4-BVB5 |  |  |  | 0 | 0 | 0 |  | 0
| 231 | 25 | NO | D1-25 | LAMP TEST DIODE 24Vac / dc | SCHNEIDER ELEC. ZBZ-G156 |  |  |  | 0 | 0 | 0 |  | 0
| 232 | 1 | NO | HL2 | LAMP HEAD BLUE | SCHNEIDER ELEC. ZB4 - BV063S |  |  |  | 0 | 0 | 0 |  | 0
| 233 | 1 | NO | FITTED TO HL2 | LED LAMP BODY 24Vac/dc BLUE | SCHNEIDER ELEC. ZB4 - BVB6 |  |  |  | 0 | 0 | 0 |  | 0
| 234 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 235 | 2 | NO | ETM1, ETM2 | ELAPSED TIME METER 12-48Vdc/20-60Vac | CURTIS 701-T-R-001-0-1248D2060A |  |  |  | 0 | 0 | 0 |  | 0
| 236 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 237 | 8 | NO | U4, V4, W4, E | FEED THROUGH TERMINAL; WFF70, C/W COVER | WEIDMULLER 1029400000 |  |  |  | 0 | 0 | 0 |  | 0
| 238 | 4 | NO | FITTED BETWEEN U4, V4, W4, E | CROSS - CONNECT BAR WQL2/70 | WEIDMULLER 1065000000 |  |  |  | 0 | 0 | 0 |  | 0
| 239 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 240 | 3 | NO | U3, V3, W3 | FEED THROUGH TERMINAL SAK10/35 | WEIDMULLER 0443760000 |  |  |  | 0 | 0 | 0 |  | 0
| 241 | 3 | NO | FITTED TO U3, V3, W3 | PARTITION, TW | WEIDMULLER 0130160000 |  |  |  | 0 | 0 | 0 |  | 0
| 242 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 243 | 24 | NO | U/V/W5-12 | FEED THROUGH TERMINAL SAK4/35 | WEIDMULLER 0443660000 |  |  |  | 0 | 0 | 0 |  | 0
| 244 | 24 |  | FITTED TO U/V/W5-12 | PARTITION, TW | WEIDMULLER 0130160000 |  |  |  | 0 | 0 | 0 |  | 0
| 245 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 246 | 161 | NO | 1-150, H1-28 | FEED THROUGH TERMINAL SAK2.5/35 | WEIDMULLER 0380460000 |  |  |  | 0 | 0 | 0 |  | 0
| 247 | 2 | NO | E | EARTH TERMINAL EK2.5/35 | WEIDMULLER 0661060000 |  |  |  | 0 | 0 | 0 |  | 0
| 248 | 28 | NO | FITTED TO H1-28 | PARTITION, TW | WEIDMULLER 0130160000 |  |  |  | 0 | 0 | 0 |  | 0
| 249 | 3 | NO | N.D. | END PLATE AP (SAK2.5) | WEIDMULLER 0279560000 |  |  |  | 0 | 0 | 0 |  | 0
| 250 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0
| 251 | AS REQ | NO | N.D. | MOUNTING RAIL (SLOTTED) TS15 | WEIDMULLER 0117510000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 252 | AS REQ | NO | N.D. | END BRACKET (DIN) WEW35/2 | WEIDMULLER 1061200000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
| 253 | AS REQ | NO | N.D. | MOUNTING RAIL (DIN) TS35*15 | WEIDMULLER 0236400000 |  |  |  | 0 | 0 | #VALUE! |  | #VALUE!
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[10 empty] | 0 | 0 | 0 |  | 0
[9 empty] | Materials Cost Total |  |  | #VALUE!
[10 empty] | Average Value Markup |  |  | #VALUE!
[11 empty] | Materials Total |  |  | #VALUE!